## Measurements
SysConst | AvgTime | Oxygen
| 4 | 0
ChambConst | Chamber | Aperture | blc_a | blc_b | blc_c | blc_d | blc_e | blc_minS | blc_maxS | blc_Po
| 6800-01A | 2 cm² | 0.572 | 0.38727 | -0.018706 | 0 | -0.0073739 | 1 | 2 | 96.9
Const | CustomBLC
2
LTConst | deltaTw | fT1 | fT2 | fTeb
| 0 | 1 | 0 | 0
LQConst | Leaf | Ambient | abs_ambient | abs_redLED | abs_greenLED | abs_blueLED | abs_whiteLED | abs_redFlr | abs_blueFlr | k_ambient | k_redLED | k_greenLED | k_blueLED | k_whiteLED | k_redFlr | k_blueFlr
| standard | Sun+Sky | 0.8 | 0.84 | 0.7 | 0.87 | 0.75 | 0.84 | 0.87 | 0.19 | 0.1512 | 0.161 | 0.2262 | 0.1575 | 0.1596 | 0.2175
QConst | fQ_Amb_in | fQ_Amb_out | fQ_HeadLS | fQ_ConsoleLS | fQ_Flr
| 0 | 0 | 0 | 0 | 1
LeakConst | fan_a | fan_b | fan_c | fan_d | Fs_meas | Fs_true | leak_wt
| -6276 | 6.6 | 1.709e-05 | 3.11 | 1.22752 92.1051 375.101 617.031 867.632 1082.38 1261.78 1414.15 | 0.319314 114.587 401.728 601.45 802.002 1003.27 1201.7 1400.31 | 0
SysObs | SysObs | SysObs | SysObs | SysObs | SysObs | UserDefCon | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | Dynamic | Dynamic | Dynamic | Dynamic | Dynamic | Dynamic | Dynamic | Dynamic | Dynamic | Dynamic | Leak | Leak | Leak | Leak | Leak | LeafQ | LeafQ | LeafQ | LeafQ | Const | Const | Const | Const | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | ConStatus | ConStatus | ConStatus | ConStatus | ConStatus | ConStatus | ConStatus | ConStatus | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status
obs | time | elapsed | date | hhmmss | averaging | plant | TIME | E | Emm | A | Ca | Ci | Pci | Pca | gsw | gbw | gtw | gtc | Rabs | TleafEB | TleafCnd | SVPleaf | RHcham | VPcham | SVPcham | VPDleaf | LatHFlux | SenHFlux | NetTherm | EBSum | Asty | Esty | Adyn | Crd | Csd | dCsd/dt | αVc | Edyn | Hr | Hs | dHs/dt | αVh | Leak | LeakPct | CorrFact | CorrFactPct | Fan | Qin | Qabs | alpha | convert | S | K | Geometry | UseDynamic | TIME | CO2_s | CO2_r | H2O_s | H2O_r | CO2_a | H2O_a | Flow | Pa | ΔPcham | Tair | Tleaf | Tleaf2 | Offset | Offset2 | Fan_speed | Qamb_in | Qamb_out | Q | f_red | f_blue | f_farred | F | Q_modavg | F_dc | Pc | Tled | TDigital | TPreamp | TPwrSpy | TDrive | Q_red | Q_blue | Q_farred | TSPF | state | time | hhmmss | co2_t | h2o_t | count | co2_adj | h2o_adj | co2_match | h2o_match | co2_at | h2o_at | co2_cv | h2o_cv | CO2_r:MN | CO2_r:SLP | CO2_r:SD | CO2_r:OK | H2O_r:MN | H2O_r:SLP | H2O_r:SD | H2O_r:OK | Stable | Total | State | Vflow | VPchamber | abs_c_a | abs_c_b | abs_h_a | abs_h_b | Wc_s | Wc_r | Wco_s | Wco_r | Ww_s | Ww_r | Wwo_s | Wwo_r | Flow_s_v | Flow_r_v | Tleaf_mv | Tleaf2_mv | MatchValveR | MatchValveS | MatchCO2 | MatchH2O | cf_co2_a | cf_co2_b | cf_co2_c | cf_co2_d | cf_h2o_a | cf_h2o_b | cf_h2o_c | cf_h2o_d | co2_fit_low | co2_fit_high | h2o_fit_low | h2o_fit_high | co2_elapsed | h2o_elapsed | CO2_f | CO2_f_s | Pump_f | Pump_f_s | Pump_p | Pump_p_s | Tboard | V_system | DIAG | Flow_s | Flow_r | Txchg | Tirga | Tchopper | Ts | Tr | CO2_% | Desiccant_% | Humidifier_% | Txchg_sp | CO2_r_sp | H2O_r_sp | SS_s | SS_r
| s | s |  |  | s |  | s | mol m⁻² s⁻¹ | mmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol mol⁻¹ | µmol mol⁻¹ | Pa | Pa | mol m⁻² s⁻¹ | mol m⁻² s⁻¹ | mol m⁻² s⁻¹ | mol m⁻² s⁻¹ | W m⁻² | °C | °C | kPa | % | kPa | kPa | kPa | W m⁻² | W m⁻² | W m⁻² | W m⁻² | µmol m⁻² s⁻¹ | mmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol mol⁻¹ | µmol mol⁻¹ | µmol mol⁻¹ s⁻¹ | cm³ | mmol m⁻² s⁻¹ | mmol mol⁻¹ | mmol mol⁻¹ | mmol mol⁻¹ s⁻¹ | cm³ | µmol s⁻¹ | % |  | % | µmol s⁻¹ | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ |  | J/µmol | cm² |  |  |  | s | µmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | mmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | µmol s⁻¹ | kPa | kPa | °C | °C | °C | °C | °C | rpm | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ |  |  |  |  | µmol m⁻² s⁻¹ |  |  | °C | °C | °C | °C | °C | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | s |  | secs |  | s | s |  | µmol/mol | mmol/mol | µmol/mol | mmol/mol | µmol/mol | mmol/mol | % | % | µmol mol⁻¹ | µmol mol⁻¹ min⁻¹ | µmol mol⁻¹ |  | mmol mol⁻¹ | mmol mol⁻¹ min⁻¹ | mmol mol⁻¹ |  |  |  |  | V | V | [12 empty] | V | V | mV | mV | % | % | µmol/mol | mmol/mol | mmol/mol |  |  |  | mmol/mol |  |  |  | µmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | mmol mol⁻¹ | min | min | V | V | V | V | V | V | °C | V |  | µmol s⁻¹ | µmol s⁻¹ | °C | °C | °C | °C | °C | % | % | % | °C | µmol mol⁻¹ | mmol mol⁻¹ | % | %
1 | 1673534157.6 | 0 | 20230112 15:35:57 | 15:35:57 | none |  | 1673534157.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6484 | 1.7591 | -1.2742e-05 | 66.8787 | 0 | 0.1702 | 0.25274 | -1.5594e-06 | 78.3739 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0.5 | 0: Broadleaf | TRUE | 1673534157.6 | 1.7587 | 1.6414 | 0.25263 | 0.16921 | 2.4162 | 0.25174 | 600.016 | 99.3026 | 0.10013 | 25.1758 | 24.9845 | 999.9 | 0 | 0 | 10000 | 0 | 0.22731 | 0 | 0 | 0 | 0 | 1.17 | 0 | -15.89 | -1.67 | 34 | 38.312 | 36.375 | 37.125 | 35 | 0 | 0 | 0 | 1673534158.4 | 0 | 1673533983.6 | 15:33:03 | 1673533983.6 | 1673533983.6 | 8 | 0.693 | 0.024 | -0.658 | 0 | 2 | 0 | 0.25 | 0.07 | 1.6409 | 0.073499 | 0.010239 | 1 | 0.17125 | -0.0036521 | 0.00075318 | 1 | 2 | 2 | 2/2 | 3.1787 | 2.6833 | 0.0006738 | 0.00047406 | 0.0021214 | 0.0014967 | 32420 | 25279.5 | 31892 | 23275 | 42754.4 | 28496.4 | 47463 | 31519.8 | 2.1918 | 2.2563 | 0.029501 | 0 | 100 | 100 | -0.658 | 0.0009 | -0.66551 | 0.0033169 | -2.9208e-06 | 1.168e-09 | -0.0017255 | 0.010542 | -0.00069852 | 2.0486e-05 | 5 | 2041 | 1 | 19 | 2.9 | 2.9 | 0.032959 | 4.9988 | 2.2473 | 2.6074 | 2.1985 | 2.3914 | 37.2659 | 24.2451 | 18 | 626.011 | 798.397 | 23.5033 | 27.7098 | 30.0001 | 27.6836 | 27.684 | 0 | 100 | 0 | 23.5068 | 0 | 0 | 101.547 | 101.718
2 | 1673534283.1 | 125.5 | 20230112 15:38:03 | 15:38:03 | none |  | 1673534283.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 400.4325 | 400.9425 | -0.00038459 | 66.8787 | 0 | 0.1753 | 0.2518 | -1.7228e-06 | 78.3739 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0.5 | 0: Broadleaf | TRUE | 1673534283.1 | 400.832 | 400.366 | 0.2517 | 0.17538 | 400.562 | 0.25082 | 600.021 | 99.2997 | 0.10031 | 25.1728 | 24.9947 | 999.9 | 0 | 0 | 9975 | 0 | 0.22731 | 0 | 0 | 0 | 0 | 3.24 | 0 | -17.83 | -1.51 | 34.062 | 40.062 | 37.062 | 38.875 | 35.562 | 0 | 0 | 0 | 1673534283.8 | 0 | 1673533983.6 | 15:33:03 | 1673533983.6 | 1673533983.6 | 8 | 0.693 | 0.024 | -0.658 | 0 | 2 | 0 | 0.25 | 0.07 | 400.37 | -0.081993 | 0.031701 | 1 | 0.17636 | -0.0031864 | 0.00080435 | 1 | 2 | 2 | 2/2 | 3.1787 | 2.6832 | 0.091048 | 0.093475 | 0.0021137 | 0.0015505 | 29488.5 | 22926.8 | 31892.2 | 23274.2 | 42759.2 | 28497.2 | 47463.6 | 31519.1 | 2.1919 | 2.2579 | 0.029519 | 0 | 100 | 100 | 0.27 | 0.0009 | -0.66551 | 0.0033169 | -2.9208e-06 | 1.168e-09 | -0.0017255 | 0.010542 | -0.00069852 | 2.0486e-05 | 5 | 2041 | 1 | 19 | 5 | 5 | 1.3428 | 2.6733 | 2.2473 | 2.6074 | 2.1985 | 2.29 | 37.2899 | 24.2539 | 18 | 626.12 | 800.101 | 23.5912 | 27.7075 | 30 | 27.6836 | 27.6863 | 26.8659 | 100 | 0 | 23.5939 | 400 | 0 | 101.548 | 101.715
3 | 1673534412.1 | 254.5 | 20230112 15:40:12 | 15:40:12 | none |  | 1673534412.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 800.2304 | 800.5534 | 0.00071959 | 66.8787 | 0 | 0.17668 | 0.24574 | -2.1637e-07 | 78.3739 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0.5 | 0: Broadleaf | TRUE | 1673534412.1 | 800.359 | 800.114 | 0.24572 | 0.17661 | 799.642 | 0.24491 | 599.985 | 99.2954 | 0.099013 | 25.196 | 25.0091 | 999.9 | 0 | 0 | 10048.8 | 0 | 0.24151 | 0 | 0 | 0 | 0 | 2.05 | 0 | -18.68 | -2.68 | 34.625 | 41.437 | 37.812 | 40.687 | 36.187 | 0 | 0 | 0 | 1673534412.8 | 0 | 1673533983.6 | 15:33:03 | 1673533983.6 | 1673533983.6 | 8 | 0.693 | 0.024 | -0.658 | 0 | 2 | 0 | 0.25 | 0.07 | 800.0787 | -0.046599 | 0.036471 | 1 | 0.17709 | -0.0025235 | 0.00059931 | 1 | 2 | 2 | 2/2 | 3.1786 | 2.6826 | 0.14934 | 0.15327 | 0.0020646 | 0.0015612 | 27597.8 | 21415 | 31892.6 | 23274.6 | 42764.2 | 28498.7 | 47463.9 | 31519 | 2.1919 | 2.2591 | 0.030369 | 0 | 100 | 100 | 0.717 | 0.0008 | -0.66551 | 0.0033169 | -2.9208e-06 | 1.168e-09 | -0.0017255 | 0.010542 | -0.00069852 | 2.0486e-05 | 5 | 2041 | 1 | 19 | 7.1 | 7.1 | 2.3425 | 2.6587 | 2.2473 | 2.6074 | 2.1985 | 2.3889 | 37.2899 | 24.2626 | 18 | 626.059 | 801.241 | 23.4661 | 27.7028 | 30 | 27.6813 | 27.684 | 46.8748 | 100 | 0 | 23.4651 | 800 | 0 | 101.549 | 101.716
4 | 1673534532.6 | 375 | 20230112 15:42:12 | 15:42:12 | none |  | 1673534532.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1200.3077 | 1201.0825 | 0.0019976 | 66.8787 | 0 | 0.17873 | 0.24295 | -1.1765e-06 | 78.3739 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0.5 | 0: Broadleaf | TRUE | 1673534532.6 | 1200.77 | 1199.99 | 0.24308 | 0.17753 | 1199.65 | 0.2423 | 600 | 99.3011 | 0.1 | 25.2087 | 25.0046 | 999.9 | 0 | 0 | 10005 | 0 | 0.22731 | 0 | 0 | 0 | 0 | 0.95 | 0 | -17.96 | -2.89 | 34.937 | 40.812 | 37.812 | 40.125 | 36.187 | 0 | 0 | 0 | 1673534533.4 | 0 | 1673533983.6 | 15:33:03 | 1673533983.6 | 1673533983.6 | 8 | 0.693 | 0.024 | -0.658 | 0 | 2 | 0 | 0.25 | 0.07 | 1200.0232 | -0.049965 | 0.051059 | 1 | 0.17885 | -0.0023805 | 0.00064804 | 1 | 2 | 2 | 2/2 | 3.1787 | 2.6832 | 0.19396 | 0.19884 | 0.002043 | 0.0015694 | 26150.6 | 20261.8 | 31893.5 | 23274.2 | 42768.3 | 28500 | 47465.1 | 31519.1 | 2.192 | 2.2604 | 0.030596 | 0 | 100 | 100 | 1.12 | 0.0008 | -0.66551 | 0.0033169 | -2.9208e-06 | 1.168e-09 | -0.0017255 | 0.010542 | -0.00069852 | 2.0486e-05 | 5 | 2041 | 1 | 19 | 9.2 | 9.2 | 3.2519 | 2.6502 | 2.2473 | 2.6074 | 2.1985 | 2.3547 | 37.2899 | 24.2539 | 18 | 626.089 | 802.449 | 23.4082 | 27.7004 | 30 | 27.6789 | 27.6793 | 65.0496 | 100 | 0 | 23.3965 | 1200 | 0 | 101.551 | 101.715
5 | 1673534653.1 | 495.5 | 20230112 15:44:13 | 15:44:13 | none |  | 1673534653.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1400.3021 | 1401.4928 | 0.024124 | 66.8787 | 0 | 0.17767 | 0.23894 | 4.9456e-08 | 78.3739 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0.5 | 0: Broadleaf | TRUE | 1673534653.1 | 1401.14 | 1400.03 | 0.239 | 0.178 | 1399.68 | 0.23826 | 600.055 | 99.3009 | 0.099738 | 25.1673 | 24.9868 | 999.9 | 0 | 0 | 10013.8 | 0 | 0.22731 | 0 | 0 | 0 | 0 | 3.05 | 0 | -14.68 | -1.94 | 33.812 | 38 | 36.187 | 36.75 | 34.812 | 0 | 0 | 0 | 1673534654 | 0 | 1673533983.6 | 15:33:03 | 1673533983.6 | 1673533983.6 | 8 | 0.693 | 0.024 | -0.658 | 0 | 2 | 0 | 0.25 | 0.07 | 1399.9954 | -0.058746 | 0.05241 | 1 | 0.17885 | -0.0017768 | 0.00047683 | 1 | 2 | 2 | 2/2 | 3.1788 | 2.683 | 0.21322 | 0.21848 | 0.0020095 | 0.0015735 | 25525.8 | 19764.8 | 31893.7 | 23274 | 42770.7 | 28500.6 | 47465.3 | 31519.2 | 2.192 | 2.2611 | 0.030264 | 0 | 100 | 100 | 1.46 | 0.0007 | -0.66551 | 0.0033169 | -2.9208e-06 | 1.168e-09 | -0.0017255 | 0.010542 | -0.00069852 | 2.0486e-05 | 5 | 2041 | 1 | 19 | 11.2 | 11.2 | 3.6792 | 2.6404 | 2.2473 | 2.6074 | 2.1985 | 2.3633 | 37.2659 | 24.2539 | 18 | 626.083 | 803.142 | 23.5468 | 27.6981 | 30 | 27.6766 | 27.6769 | 73.582 | 100 | 0 | 23.5488 | 1400 | 0 | 101.552 | 101.715
6 | 1673534779.1 | 621.5 | 20230112 15:46:19 | 15:46:19 | none |  | 1673534779.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1800.3441 | 1801.3807 | 0.0063618 | 66.8787 | 0 | 0.1809 | 0.23631 | 7.6234e-08 | 78.3739 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0.5 | 0: Broadleaf | TRUE | 1673534779.1 | 1800.96 | 1799.95 | 0.2364 | 0.18115 | 1798.32 | 0.23568 | 600.017 | 99.2982 | 0.10008 | 25.179 | 24.9897 | 999.9 | 0 | 0 | 9991.25 | 0 | 0.22731 | 0 | 0 | 0 | 0 | 1.27 | 0 | -22.01 | -2.27 | 34.187 | 40.437 | 37.187 | 39.312 | 35.687 | 0 | 0 | 0 | 1673534780 | 0 | 1673533983.6 | 15:33:03 | 1673533983.6 | 1673533983.6 | 8 | 0.693 | 0.024 | -0.658 | 0 | 2 | 0 | 0.25 | 0.07 | 1799.9859 | -0.046829 | 0.038697 | 1 | 0.18203 | -0.0026467 | 0.00062186 | 1 | 2 | 2 | 2/2 | 3.1787 | 2.6831 | 0.24728 | 0.25325 | 0.0019881 | 0.001601 | 24420.3 | 18885.7 | 31893.2 | 23274.6 | 42772.5 | 28501.8 | 47464.5 | 31520.2 | 2.1921 | 2.2626 | 0.029564 | 0 | 100 | 100 | 2.64 | 0.0007 | -0.66551 | 0.0033169 | -2.9208e-06 | 1.168e-09 | -0.0017255 | 0.010542 | -0.00069852 | 2.0486e-05 | 5 | 2041 | 1 | 19 | 13.3 | 13.3 | 4.4788 | 2.6221 | 2.2473 | 2.6074 | 2.1985 | 2.3767 | 37.2659 | 24.2626 | 18 | 626.167 | 804.661 | 23.5883 | 27.6934 | 30.0001 | 27.6743 | 27.6746 | 89.5875 | 100 | 0 | 23.5894 | 1800 | 0 | 101.55 | 101.718
7 | 1673534899.6 | 742 | 20230112 15:48:19 | 15:48:19 | none |  | 1673534899.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2000.2721 | 2002.1384 | 0.0046489 | 66.8787 | 0 | 0.181 | 0.23226 | -5.2279e-07 | 78.3739 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0.5 | 0: Broadleaf | TRUE | 1673534899.6 | 2001.64 | 2000.03 | 0.23218 | 0.18095 | 1998.02 | 0.2315 | 600.064 | 99.3006 | 0.10014 | 25.1982 | 25.0142 | 999.9 | 0 | 0 | 9995 | 0 | 0.22731 | 0 | 0 | 0 | 0 | 3.25 | 0 | -16.51 | -2.12 | 34.687 | 41.562 | 37.875 | 40.875 | 36.312 | 0 | 0 | 0 | 1673534900.6 | 0 | 1673533983.6 | 15:33:03 | 1673533983.6 | 1673533983.6 | 8 | 0.693 | 0.024 | -0.658 | 0 | 2 | 0 | 0.25 | 0.07 | 2000.0122 | -0.087596 | 0.077287 | 1 | 0.18135 | -0.0017402 | 0.00041842 | 1 | 2 | 2 | 2/2 | 3.1788 | 2.6833 | 0.26256 | 0.26882 | 0.0019534 | 0.0015993 | 23924.9 | 18491.9 | 31894.2 | 23274.6 | 42775.9 | 28502 | 47465.9 | 31519.8 | 2.1919 | 2.2632 | 0.031058 | 0 | 100 | 100 | 3.62 | 0.0007 | -0.66551 | 0.0033169 | -2.9208e-06 | 1.168e-09 | -0.0017255 | 0.010542 | -0.00069852 | 2.0486e-05 | 5 | 2041 | 1 | 19 | 15.3 | 15.3 | 4.8535 | 2.6025 | 2.2473 | 2.6062 | 2.1985 | 2.3792 | 37.242 | 24.2626 | 18 | 625.925 | 805.154 | 23.4572 | 27.691 | 30.0001 | 27.6719 | 27.6722 | 97.0787 | 100 | 0 | 23.4539 | 2000 | 0 | 101.553 | 101.717
SysConst | Oxygen
2
8 | 1673535339.6 | 1182 | 20230112 15:55:39 | 15:55:39 | none |  | 1673535339.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.7803 | 2.9584 | 1.9099e-05 | 66.8613 | 0 | 0.13753 | 0.18095 | 1.1142e-06 | 78.172 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0.5 | 0: Broadleaf | TRUE | 1673535339.6 | 2.9565 | 2.7586 | 0.18101 | 0.13736 | 3.674 | 0.17413 | 600.031 | 99.3086 | 0.10021 | 25.196 | 25.0107 | 999.9 | 0 | 0 | 9982.5 | 0 | 0.22731 | 0 | 0 | 0 | 0 | 4.59 | 0 | -19.86 | -2.39 | 34.562 | 41.312 | 37.687 | 40.562 | 36.187 | 0 | 0 | 0 | 1673535340.4 | 0 | 1673535187.1 | 15:53:07 | 1673535187.1 | 1673535186.1 | 9 | -0.064 | 0.007 | -0.718 | 0.006 | 3 | 0 | 0.16 | 0.08 | 2.7747 | 0.03207 | 0.012221 | 1 | 0.13726 | -0.00049298 | 0.00036979 | 1 | 2 | 2 | 2/2 | 3.1787 | 2.6832 | 0.0010246 | 0.00079672 | 0.0014693 | 0.0012129 | 32409.8 | 25269.9 | 31893 | 23273.6 | 42784.1 | 28503 | 47464.9 | 31518.1 | 2.1919 | 2.257 | 0.030842 | 0 | 100 | 100 | -0.718 | 0.0069 | -0.72969 | 0.0033169 | -2.9208e-06 | 1.168e-09 | 0.0050635 | 0.010542 | -0.00069852 | 2.0486e-05 | 5 | 2041 | 1 | 19 | 2.5 | 2.6 | 0.032959 | 4.9988 | 2.2473 | 2.6062 | 2.1985 | 2.3816 | 37.4098 | 24.2451 | 18 | 625.839 | 798.838 | 23.5013 | 27.6769 | 30 | 27.6602 | 27.6605 | 0 | 100 | 0 | 23.4937 | 0 | 0 | 101.55 | 101.712
9 | 1673535486.1 | 1328.5 | 20230112 15:58:06 | 15:58:06 | none |  | 1673535486.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 400.3607 | 400.8958 | 0.00076199 | 66.8613 | 0 | 0.14632 | 0.19041 | -6.3706e-07 | 78.172 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0.5 | 0: Broadleaf | TRUE | 1673535486.1 | 400.818 | 400.318 | 0.19032 | 0.14673 | 400.612 | 0.18335 | 599.998 | 99.309 | 0.099821 | 25.1994 | 24.9958 | 999.9 | 0 | 0 | 10012.5 | 0 | 0.22731 | 0 | 0 | 0 | 0 | 4.97 | 0 | -18.25 | -2.56 | 34.812 | 40.375 | 37.625 | 39.625 | 36 | 0 | 0 | 0 | 1673535486.8 | 0 | 1673535187.1 | 15:53:07 | 1673535187.1 | 1673535186.1 | 9 | -0.064 | 0.007 | -0.718 | 0.006 | 3 | 0 | 0.16 | 0.08 | 400.282 | -0.083456 | 0.026304 | 1 | 0.14633 | -0.0011959 | 0.00041316 | 1 | 2 | 2 | 2/2 | 3.1787 | 2.6831 | 0.091029 | 0.093438 | 0.0015461 | 0.0012949 | 29489.8 | 22927.2 | 31892.7 | 23273.5 | 42784.3 | 28503.7 | 47464.4 | 31518.3 | 2.1921 | 2.2584 | 0.030689 | 0 | 100 | 100 | 0.206 | 0.007 | -0.72969 | 0.0033169 | -2.9208e-06 | 1.168e-09 | 0.0050635 | 0.010542 | -0.00069852 | 2.0486e-05 | 5 | 2041 | 1 | 19 | 5 | 5 | 1.3379 | 2.6758 | 2.2473 | 2.6074 | 2.1985 | 2.3987 | 37.4338 | 24.2539 | 18 | 625.929 | 800.16 | 23.3609 | 27.6718 | 30.0001 | 27.6532 | 27.6534 | 26.7628 | 100 | 0 | 23.36 | 400 | 0 | 101.549 | 101.712
10 | 1673535608.1 | 1450.5 | 20230112 16:00:08 | 16:00:08 | none |  | 1673535608.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 800.2095 | 800.5238 | 0.00026939 | 66.8613 | 0 | 0.15154 | 0.19437 | -1.2219e-06 | 78.172 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0.5 | 0: Broadleaf | TRUE | 1673535608.1 | 800.377 | 800.101 | 0.19419 | 0.15132 | 799.725 | 0.18718 | 600.073 | 99.3092 | 0.09964 | 25.1661 | 24.9855 | 999.9 | 0 | 0 | 10016.2 | 0 | 0.22731 | 0 | 0 | 0 | 0 | 0.96 | 0 | -16.26 | -1.38 | 33.687 | 38.187 | 36.187 | 36.875 | 34.812 | 0 | 0 | 0 | 1673535608.6 | 0 | 1673535187.1 | 15:53:07 | 1673535187.1 | 1673535186.1 | 9 | -0.064 | 0.007 | -0.718 | 0.006 | 3 | 0 | 0.16 | 0.08 | 800.077 | -0.092739 | 0.036976 | 1 | 0.15164 | -0.00052394 | 0.00040492 | 1 | 2 | 2 | 2/2 | 3.1789 | 2.6829 | 0.14928 | 0.15319 | 0.0015781 | 0.001335 | 27601 | 21416.3 | 31893.8 | 23273.9 | 42786.6 | 28504.6 | 47465.4 | 31518.4 | 2.1923 | 2.2598 | 0.030436 | 0 | 100 | 100 | 0.652 | 0.007 | -0.72969 | 0.0033169 | -2.9208e-06 | 1.168e-09 | 0.0050635 | 0.010542 | -0.00069852 | 2.0486e-05 | 5 | 2041 | 1 | 19 | 7 | 7 | 2.3413 | 2.6721 | 2.2473 | 2.6074 | 2.1985 | 2.3999 | 37.4338 | 24.2539 | 18 | 626 | 801.384 | 23.5969 | 27.6651 | 30 | 27.6461 | 27.6464 | 46.8499 | 100 | 0 | 23.5961 | 800 | 0 | 101.552 | 101.713
11 | 1673535734.1 | 1576.5 | 20230112 16:02:14 | 16:02:14 | none |  | 1673535734.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1200.2688 | 1201.1161 | -0.00048594 | 66.8613 | 0 | 0.15665 | 0.19948 | -6.8293e-07 | 78.172 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0.5 | 0: Broadleaf | TRUE | 1673535734.1 | 1200.88 | 1200 | 0.19965 | 0.15636 | 1199.81 | 0.19259 | 600.013 | 99.3131 | 0.099781 | 25.1772 | 25.0034 | 999.9 | 0 | 0 | 10000 | 0 | 0.22731 | 0 | 0 | 0 | 0 | 4.61 | 0 | -19.52 | -2.1 | 34.25 | 40.562 | 37.25 | 39.5 | 35.75 | 0 | 0 | 0 | 1673535734.6 | 0 | 1673535187.1 | 15:53:07 | 1673535187.1 | 1673535186.1 | 9 | -0.064 | 0.007 | -0.718 | 0.006 | 3 | 0 | 0.16 | 0.08 | 1200.0373 | -0.052892 | 0.041321 | 1 | 0.15621 | -0.0006407 | 0.00044293 | 1 | 2 | 2 | 2/2 | 3.1787 | 2.6829 | 0.19387 | 0.19873 | 0.0016232 | 0.0013791 | 26154.8 | 20263.9 | 31894.6 | 23273.1 | 42788 | 28504.5 | 47466.9 | 31518 | 2.1924 | 2.2612 | 0.030994 | 0 | 100 | 100 | 1.07 | 0.0071 | -0.72969 | 0.0033169 | -2.9208e-06 | 1.168e-09 | 0.0050635 | 0.010542 | -0.00069852 | 2.0486e-05 | 5 | 2041 | 1 | 19 | 9.1 | 9.1 | 3.2507 | 2.6575 | 2.2473 | 2.6074 | 2.1985 | 2.3035 | 37.4098 | 24.2539 | 18 | 626.024 | 802.742 | 23.567 | 27.6581 | 30.0001 | 27.6414 | 27.6417 | 65.0319 | 100 | 0 | 23.5681 | 1200 | 0 | 101.555 | 101.711
12 | 1673535854.6 | 1697 | 20230112 16:04:14 | 16:04:14 | none |  | 1673535854.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1400.2545 | 1401.3522 | 0.00017225 | 66.8613 | 0 | 0.15874 | 0.20078 | -6.8443e-07 | 78.172 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0.5 | 0: Broadleaf | TRUE | 1673535854.6 | 1401.06 | 1400.04 | 0.20086 | 0.15882 | 1399.66 | 0.19378 | 600.047 | 99.3207 | 0.10001 | 25.1971 | 25.0087 | 999.9 | 0 | 0 | 9997.5 | 0 | 0.22731 | 0 | 0 | 0 | 0 | -0.27 | 0 | -15.43 | -1.65 | 34.75 | 41.625 | 37.937 | 40.937 | 36.312 | 0 | 0 | 0 | 1673535855.2 | 0 | 1673535187.1 | 15:53:07 | 1673535187.1 | 1673535186.1 | 9 | -0.064 | 0.007 | -0.718 | 0.006 | 3 | 0 | 0.16 | 0.08 | 1400.0046 | -0.070662 | 0.050899 | 1 | 0.15894 | -0.0010295 | 0.0004375 | 1 | 2 | 2 | 2/2 | 3.1788 | 2.6831 | 0.21311 | 0.21837 | 0.0016333 | 0.0014007 | 25531 | 19767.3 | 31895.4 | 23273.3 | 42789.1 | 28505 | 47467.7 | 31518.6 | 2.1926 | 2.2618 | 0.031348 | 0 | 100 | 100 | 1.4 | 0.0071 | -0.72969 | 0.0033169 | -2.9208e-06 | 1.168e-09 | 0.0050635 | 0.010542 | -0.00069852 | 2.0486e-05 | 5 | 2041 | 1 | 19 | 11.1 | 11.1 | 3.6768 | 2.6392 | 2.2473 | 2.6074 | 2.1985 | 2.3547 | 37.3858 | 24.2626 | 18 | 626.059 | 803.293 | 23.453 | 27.6511 | 30.0002 | 27.6344 | 27.6347 | 73.5417 | 100 | 0 | 23.4468 | 1400 | 0 | 101.557 | 101.712
13 | 1673535975.1 | 1817.5 | 20230112 16:06:15 | 16:06:15 | none |  | 1673535975.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1800.3089 | 1801.1692 | -0.00053765 | 66.8613 | 0 | 0.1643 | 0.20329 | -1.2596e-07 | 78.172 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0.5 | 0: Broadleaf | TRUE | 1673535975.1 | 1800.82 | 1799.9 | 0.20324 | 0.16392 | 1798.24 | 0.19613 | 599.998 | 99.32 | 0.10008 | 25.1957 | 24.9949 | 999.9 | 0 | 0 | 9985 | 0 | 0.22731 | 0 | 0 | 0 | 0 | 5.95 | 0 | -19.42 | -2.57 | 34.687 | 39.875 | 37.375 | 39 | 35.812 | 0 | 0 | 0 | 1673535975.8 | 0 | 1673535187.1 | 15:53:07 | 1673535187.1 | 1673535186.1 | 9 | -0.064 | 0.007 | -0.718 | 0.006 | 3 | 0 | 0.16 | 0.08 | 1800.0144 | -0.085296 | 0.05104 | 1 | 0.16437 | -0.0001521 | 0.00037988 | 1 | 2 | 2 | 2/2 | 3.1787 | 2.6831 | 0.24713 | 0.2531 | 0.0016529 | 0.0014452 | 24426.7 | 18888.8 | 31895 | 23273.5 | 42789 | 28505.1 | 47466.8 | 31518.9 | 2.1926 | 2.2632 | 0.031136 | 0 | 100 | 100 | 2.58 | 0.0071 | -0.72969 | 0.0033169 | -2.9208e-06 | 1.168e-09 | 0.0050635 | 0.010542 | -0.00069852 | 2.0486e-05 | 5 | 2041 | 1 | 19 | 13.1 | 13.2 | 4.4751 | 2.6208 | 2.2473 | 2.6074 | 2.1985 | 2.3633 | 37.3618 | 24.2539 | 18 | 626.004 | 804.52 | 23.4418 | 27.6464 | 30 | 27.6274 | 27.6276 | 89.5214 | 100 | 0 | 23.4425 | 1800 | 0 | 101.555 | 101.713
14 | 1673536101.1 | 1943.5 | 20230112 16:08:21 | 16:08:21 | none |  | 1673536101.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2000.3773 | 2002.1189 | 0.024509 | 66.8613 | 0 | 0.16563 | 0.20366 | 1.8083e-07 | 78.172 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0.5 | 0: Broadleaf | TRUE | 1673536101.1 | 2001.7 | 2000.08 | 0.20354 | 0.16491 | 1998.15 | 0.19643 | 599.922 | 99.3245 | 0.099908 | 25.1677 | 24.9959 | 999.9 | 0 | 0 | 10005 | 0 | 0.22731 | 0 | 0 | 0 | 0 | 2.9 | 0 | -19.69 | -1.83 | 33.812 | 38.75 | 36.437 | 37.437 | 35.062 | 0 | 0 | 0 | 1673536101.8 | 0 | 1673535187.1 | 15:53:07 | 1673535187.1 | 1673535186.1 | 9 | -0.064 | 0.007 | -0.718 | 0.006 | 3 | 0 | 0.16 | 0.08 | 2000.0129 | 0.012334 | 0.047124 | 1 | 0.16543 | -0.0010525 | 0.00039606 | 1 | 2 | 2 | 2/2 | 3.1785 | 2.6831 | 0.26242 | 0.26867 | 0.0016555 | 0.0014539 | 23930.6 | 18494.9 | 31895.4 | 23273.4 | 42790.3 | 28505.3 | 47467.6 | 31518.8 | 2.1928 | 2.2642 | 0.031196 | 0 | 100 | 100 | 3.55 | 0.0071 | -0.72969 | 0.0033169 | -2.9208e-06 | 1.168e-09 | 0.0050635 | 0.010542 | -0.00069852 | 2.0486e-05 | 5 | 2041 | 1 | 19 | 15.2 | 15.2 | 4.8498 | 2.6013 | 2.2473 | 2.6074 | 2.1985 | 2.4121 | 37.3618 | 24.2539 | 18 | 626.058 | 805.473 | 23.6174 | 27.637 | 30.0001 | 27.6204 | 27.6206 | 96.9987 | 100 | 0 | 23.6229 | 2000 | 0 | 101.557 | 101.713
SysConst | Oxygen
21
15 | 1673536641.1 | 2483.5 | 20230112 16:17:21 | 16:17:21 | none |  | 1673536641.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.0018 | 4.1717 | 6.1652e-05 | 66.8776 | 0 | 0.12842 | 0.16133 | -2.4726e-07 | 78.3747 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0.5 | 0: Broadleaf | TRUE | 1673536641.1 | 4.1652 | 3.9871 | 0.16147 | 0.12895 | 4.8346 | 0.15291 | 599.942 | 99.3451 | 0.10009 | 25.1701 | 24.9939 | 999.9 | 0 | 0 | 9987.5 | 0 | 0.22731 | 0 | 0 | 0 | 0 | 1.58 | 0 | -19.33 | -2.24 | 34.062 | 40.062 | 37 | 38.812 | 35.5 | 0 | 0 | 0 | 1673536641.8 | 0 | 1673536469.1 | 16:14:29 | 1673536469.1 | 1673536469.1 | 10 | 0.044 | 0.002 | -0.67 | 0.008 | 4 | 0 | 0.13 | 0.07 | 3.9922 | 0.032318 | 0.010118 | 1 | 0.12909 | -0.001568 | 0.00041971 | 1 | 2 | 2 | 2/2 | 3.1786 | 2.6831 | 0.0013488 | 0.001152 | 0.0012464 | 0.001099 | 32403.4 | 25261.1 | 31896.7 | 23273.5 | 42799 | 28506.5 | 47470.7 | 31518.4 | 2.1927 | 2.2584 | 0.03095 | 0 | 100 | 100 | -0.669 | 0.0086 | -0.68535 | 0.0033169 | -2.9208e-06 | 1.168e-09 | 0.0069612 | 0.010542 | -0.00069852 | 2.0486e-05 | 5 | 2041 | 1 | 19 | 2.9 | 2.9 | 0.032959 | 4.9988 | 2.2473 | 2.6074 | 2.1985 | 2.2998 | 37.554 | 24.2451 | 18 | 625.643 | 799.216 | 23.5906 | 27.6018 | 30.0001 | 27.5876 | 27.5902 | 0 | 100 | 0 | 23.5908 | 0 | 0 | 101.562 | 101.712
16 | 1673536784.1 | 2626.5 | 20230112 16:19:44 | 16:19:44 | none |  | 1673536784.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 400.3939 | 400.9166 | -0.00025845 | 66.8776 | 0 | 0.14029 | 0.17382 | -3.5572e-07 | 78.3747 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0.5 | 0: Broadleaf | TRUE | 1673536784.1 | 400.847 | 400.259 | 0.174 | 0.13969 | 400.598 | 0.16532 | 599.984 | 99.3432 | 0.1001 | 25.1935 | 25.0046 | 999.9 | 0 | 0 | 9996.25 | 0 | 0.22731 | 0 | 0 | 0 | 0 | -3.43 | 0 | -17.53 | -2.55 | 34.687 | 41.5 | 37.812 | 40.812 | 36.25 | 0 | 0 | 0 | 1673536784.6 | 0 | 1673536469.1 | 16:14:29 | 1673536469.1 | 1673536469.1 | 10 | 0.044 | 0.002 | -0.67 | 0.008 | 4 | 0 | 0.13 | 0.07 | 400.3065 | -0.095791 | 0.028829 | 1 | 0.13991 | 0.0004037 | 0.00034508 | 1 | 2 | 2 | 2/2 | 3.1787 | 2.6832 | 0.090661 | 0.09305 | 0.0013465 | 0.0011898 | 29506.3 | 22937.3 | 31897.3 | 23273.7 | 42799.8 | 28507.4 | 47471.9 | 31518.9 | 2.1933 | 2.2598 | 0.031851 | 0 | 100 | 100 | 0.249 | 0.0087 | -0.68535 | 0.0033169 | -2.9208e-06 | 1.168e-09 | 0.0069612 | 0.010542 | -0.00069852 | 2.0486e-05 | 5 | 2041 | 1 | 19 | 5.2 | 5.2 | 1.3306 | 2.6856 | 2.2473 | 2.6074 | 2.1985 | 2.3865 | 37.554 | 24.2626 | 18 | 625.998 | 800.461 | 23.5498 | 27.5924 | 30 | 27.5783 | 27.5794 | 26.6186 | 100 | 0 | 23.5451 | 400 | 0 | 101.565 | 101.714
17 | 1673536908.1 | 2750.5 | 20230112 16:21:48 | 16:21:48 | none |  | 1673536908.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 800.2011 | 800.5373 | 0.025716 | 66.8776 | 0 | 0.14521 | 0.17905 | 3.0725e-07 | 78.3747 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0.5 | 0: Broadleaf | TRUE | 1673536908.1 | 800.378 | 800.125 | 0.1791 | 0.14566 | 799.682 | 0.17036 | 600.006 | 99.3432 | 0.10006 | 25.2068 | 25.005 | 999.9 | 0 | 0 | 9993.75 | 0 | 0.22731 | 0 | 0 | 0 | 0 | 4.24 | 0 | -20.25 | -3.12 | 34.812 | 40.437 | 37.625 | 39.687 | 36.062 | 0 | 0 | 0 | 1673536908.8 | 0 | 1673536469.1 | 16:14:29 | 1673536469.1 | 1673536469.1 | 10 | 0.044 | 0.002 | -0.67 | 0.008 | 4 | 0 | 0.13 | 0.07 | 800.0808 | -0.067066 | 0.0261 | 1 | 0.14564 | -0.0010563 | 0.00037961 | 1 | 2 | 2 | 2/2 | 3.1788 | 2.6831 | 0.14838 | 0.15227 | 0.0013872 | 0.0012402 | 27635.5 | 21440 | 31899.6 | 23274.1 | 42803.1 | 28508 | 47474.6 | 31519.1 | 2.1933 | 2.2611 | 0.03238 | 0 | 100 | 100 | 0.696 | 0.0087 | -0.68535 | 0.0033169 | -2.9208e-06 | 1.168e-09 | 0.0069612 | 0.010542 | -0.00069852 | 2.0486e-05 | 5 | 2041 | 1 | 19 | 7.3 | 7.3 | 2.3218 | 2.6746 | 2.2473 | 2.6074 | 2.1985 | 2.395 | 37.554 | 24.2539 | 18 | 625.882 | 801.637 | 23.4547 | 27.583 | 30 | 27.5689 | 27.5691 | 46.46 | 100 | 0 | 23.4484 | 800 | 0 | 101.571 | 101.715
18 | 1673537028.6 | 2871 | 20230112 16:23:48 | 16:23:48 | none |  | 1673537028.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1200.1825 | 1201.028 | -0.0022765 | 66.8776 | 0 | 0.15021 | 0.18627 | 4.538e-08 | 78.3747 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0.5 | 0: Broadleaf | TRUE | 1673537028.6 | 1200.79 | 1200.01 | 0.18623 | 0.15061 | 1199.69 | 0.17742 | 599.932 | 99.3424 | 0.10015 | 25.1642 | 24.9903 | 999.9 | 0 | 0 | 9983.75 | 0 | 0.22731 | 0 | 0 | 0 | 0 | 4.66 | 0 | -17.52 | -1.62 | 33.687 | 38.125 | 36.125 | 36.812 | 34.75 | 0 | 0 | 0 | 1673537029.4 | 0 | 1673536469.1 | 16:14:29 | 1673536469.1 | 1673536469.1 | 10 | 0.044 | 0.002 | -0.67 | 0.008 | 4 | 0 | 0.13 | 0.07 | 1200.0188 | 0.045157 | 0.056101 | 1 | 0.15096 | -0.001071 | 0.00044496 | 1 | 2 | 2 | 2/2 | 3.1786 | 2.6832 | 0.19251 | 0.19734 | 0.0014441 | 0.0012819 | 26203.8 | 20299.6 | 31900.1 | 23273.5 | 42803.2 | 28508.4 | 47475.1 | 31519.3 | 2.1934 | 2.2624 | 0.031669 | 0 | 100 | 100 | 1.1 | 0.0088 | -0.68535 | 0.0033169 | -2.9208e-06 | 1.168e-09 | 0.0069612 | 0.010542 | -0.00069852 | 2.0486e-05 | 5 | 2041 | 1 | 19 | 9.3 | 9.3 | 3.2202 | 2.6562 | 2.2473 | 2.6074 | 2.1985 | 2.3694 | 37.53 | 24.2539 | 18 | 625.882 | 802.87 | 23.5844 | 27.5783 | 30.0001 | 27.5637 | 27.5644 | 64.403 | 100 | 0 | 23.5872 | 1200 | 0 | 101.573 | 101.714
19 | 1673537149.1 | 2991.5 | 20230112 16:25:49 | 16:25:49 | none |  | 1673537149.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1400.1465 | 1401.1518 | 0.0028289 | 66.8776 | 0 | 0.15305 | 0.18817 | 2.4017e-07 | 78.3747 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0.5 | 0: Broadleaf | TRUE | 1673537149.1 | 1400.89 | 1400.02 | 0.18838 | 0.15314 | 1399.46 | 0.17955 | 600.006 | 99.3399 | 0.099876 | 25.1714 | 24.9916 | 999.9 | 0 | 0 | 10006.2 | 0 | 0.22731 | 0 | 0 | 0 | 0 | 2.69 | 0 | -21.77 | -2.87 | 34.25 | 40.437 | 37.187 | 39.375 | 35.75 | 0 | 0 | 0 | 1673537150 | 0 | 1673536469.1 | 16:14:29 | 1673536469.1 | 1673536469.1 | 10 | 0.044 | 0.002 | -0.67 | 0.008 | 4 | 0 | 0.13 | 0.07 | 1399.9915 | 0.098676 | 0.050969 | 1 | 0.1539 | -0.0023112 | 0.00053998 | 1 | 2 | 2 | 2/2 | 3.1788 | 2.6831 | 0.21151 | 0.21674 | 0.0014612 | 0.0013033 | 25586.7 | 19808.9 | 31899.9 | 23273.6 | 42803.2 | 28508.4 | 47475 | 31519.3 | 2.1936 | 2.263 | 0.031188 | 0 | 100 | 100 | 1.43 | 0.0088 | -0.68535 | 0.0033169 | -2.9208e-06 | 1.168e-09 | 0.0069612 | 0.010542 | -0.00069852 | 2.0486e-05 | 5 | 2041 | 1 | 19 | 11.3 | 11.3 | 3.6401 | 2.6477 | 2.2473 | 2.6086 | 2.1985 | 2.3804 | 37.5059 | 24.2626 | 18 | 625.985 | 803.329 | 23.5659 | 27.5756 | 30.0001 | 27.5596 | 27.5598 | 72.7914 | 100 | 0 | 23.5731 | 1400 | 0 | 101.572 | 101.714
20 | 1673537269.6 | 3112 | 20230112 16:27:49 | 16:27:49 | none |  | 1673537269.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1800.3194 | 1800.9264 | -0.0011049 | 66.8776 | 0 | 0.15954 | 0.19154 | -1.2354e-07 | 78.3747 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0.5 | 0: Broadleaf | TRUE | 1673537269.6 | 1800.59 | 1800.05 | 0.19156 | 0.15901 | 1797.97 | 0.18269 | 599.965 | 99.3382 | 0.099987 | 25.196 | 25.0135 | 999.9 | 0 | 0 | 10005 | 0 | 0.22731 | 0 | 0 | 0 | 0 | 2.09 | 0 | -18.84 | -2.51 | 34.687 | 41.5 | 37.875 | 40.875 | 36.312 | 0 | 0 | 0 | 1673537270.6 | 0 | 1673536469.1 | 16:14:29 | 1673536469.1 | 1673536469.1 | 10 | 0.044 | 0.002 | -0.67 | 0.008 | 4 | 0 | 0.13 | 0.07 | 1800.0302 | 0.10139 | 0.053442 | 0 | 0.15951 | -0.0007278 | 0.00034808 | 1 | 1 | 2 | 1/2 | 3.1787 | 2.6832 | 0.24513 | 0.25107 | 0.0014865 | 0.0013527 | 24495.8 | 18940.5 | 31900.2 | 23273.7 | 42803.6 | 28508.1 | 47475 | 31519.3 | 2.1935 | 2.2643 | 0.032771 | 0 | 100 | 100 | 2.62 | 0.0089 | -0.68535 | 0.0033169 | -2.9208e-06 | 1.168e-09 | 0.0069612 | 0.010542 | -0.00069852 | 2.0486e-05 | 5 | 2041 | 1 | 19 | 13.3 | 13.3 | 4.4263 | 2.6306 | 2.2473 | 2.6086 | 2.1985 | 2.3779 | 37.4819 | 24.2626 | 18 | 625.882 | 804.665 | 23.5055 | 27.569 | 30 | 27.555 | 27.5551 | 88.531 | 100 | 0 | 23.4947 | 1800 | 0 | 101.572 | 101.714
21 | 1673537395.1 | 3237.5 | 20230112 16:29:55 | 16:29:55 | none |  | 1673537395.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2000.3134 | 2001.6628 | 0.0062534 | 66.8776 | 0 | 0.16157 | 0.19199 | 1.9825e-07 | 78.3747 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0.5 | 0: Broadleaf | TRUE | 1673537395.1 | 2001.3 | 2000.06 | 0.19196 | 0.16144 | 1997.71 | 0.18309 | 599.971 | 99.3361 | 0.099627 | 25.201 | 24.9942 | 999.9 | 0 | 0 | 10006.2 | 0 | 0.22731 | 0 | 0 | 0 | 0 | 1.95 | 0 | -18.18 | -2.64 | 34.812 | 40.187 | 37.562 | 39.437 | 35.937 | 0 | 0 | 0 | 1673537396 | 0 | 1673536469.1 | 16:14:29 | 1673536469.1 | 1673536469.1 | 10 | 0.044 | 0.002 | -0.67 | 0.008 | 4 | 0 | 0.13 | 0.07 | 2000.0044 | -0.06439 | 0.06109 | 1 | 0.16146 | 0.00018867 | 0.00033532 | 1 | 2 | 2 | 2/2 | 3.1787 | 2.6828 | 0.2602 | 0.26641 | 0.0014897 | 0.0013732 | 24007.2 | 18552.8 | 31900.8 | 23273.9 | 42805.2 | 28508.5 | 47476.1 | 31519.8 | 2.1937 | 2.2649 | 0.032172 | 0 | 100 | 100 | 3.59 | 0.0089 | -0.68535 | 0.0033169 | -2.9208e-06 | 1.168e-09 | 0.0069612 | 0.010542 | -0.00069852 | 2.0486e-05 | 5 | 2041 | 1 | 19 | 15.4 | 15.4 | 4.7937 | 2.6135 | 2.2473 | 2.6074 | 2.1985 | 2.3743 | 37.4578 | 24.2626 | 18 | 625.989 | 805.166 | 23.4611 | 27.5643 | 30.0001 | 27.5479 | 27.548 | 95.8808 | 100 | 0 | 23.457 | 2000 | 0 | 101.575 | 101.716
SysConst | Oxygen
0
22 | 1673537977.1 | 3819.5 | 20230112 16:39:37 | 16:39:37 | none |  | 1673537977.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.1134 | 5.3025 | -6.961e-05 | 66.8486 | 0 | 9.9988 | 9.931 | 4.4226e-07 | 78.5424 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0.5 | 0: Broadleaf | TRUE | 1673537977.1 | 5.2525 | 5.0727 | 9.9309 | 9.9995 | 6.0053 | 9.8755 | 600.016 | 99.3087 | 0.099759 | 25.1637 | 24.9744 | 999.9 | 0 | 0 | 10002.5 | 0 | 0.22731 | 0 | 0 | 0 | 0 | 4.7 | 0 | -18.78 | -2.13 | 33.687 | 37.937 | 36.125 | 36.687 | 34.687 | 0 | 0 | 0 | 1673537978 | 0 | 1673537805.1 | 16:36:45 | 1673537805.1 | 1673537805.1 | 11 | -0.087 | -0.007 | -0.754 | 0.056 | 5 | 10 | 0.24 | 0.13 | 5.0615 | 0.070403 | 0.012269 | 1 | 10.0015 | -0.0080819 | 0.0016644 | 1 | 2 | 2 | 2/2 | 3.1788 | 2.6829 | 0.001675 | 0.0014652 | 0.058308 | 0.0614 | 32395.9 | 25252.1 | 31899.1 | 23272.2 | 40357 | 26784.1 | 47474.1 | 31517.2 | 2.1928 | 2.2755 | 0.031754 | 0 | 100 | 100 | -0.753 | 0.0555 | -0.77268 | 0.0033169 | -2.9208e-06 | 1.168e-09 | -0.00023201 | 0.010542 | -0.00069852 | 2.0486e-05 | 5 | 2041 | 1 | 19 | 2.9 | 2.9 | 0.032959 | 4.9988 | 2.2473 | 2.605 | 2.1985 | 2.3755 | 37.6263 | 24.2451 | 18 | 625.118 | 815.472 | 23.5986 | 27.5318 | 30.0001 | 27.5269 | 27.527 | 0 | 43.66 | 0 | 23.608 | 0 | 10 | 101.57 | 101.708
23 | 1673538104.1 | 3946.5 | 20230112 16:41:44 | 16:41:44 | none |  | 1673538104.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 404.4067 | 404.7396 | -0.00010466 | 66.8486 | 0 | 10.0015 | 9.9471 | -8.1427e-07 | 78.5424 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0.5 | 0: Broadleaf | TRUE | 1673538104.1 | 400.704 | 400.361 | 9.947 | 10.0009 | 400.542 | 9.8914 | 599.951 | 99.3043 | 0.099924 | 25.1723 | 25.0049 | 999.9 | 0 | 0 | 9990 | 0 | 0.22731 | 0 | 0 | 0 | 0 | 4.12 | 0 | -18.64 | -1.96 | 34.187 | 40.437 | 37.187 | 39.375 | 35.687 | 0 | 0 | 0 | 1673538104.6 | 0 | 1673537805.1 | 16:36:45 | 1673537805.1 | 1673537805.1 | 11 | -0.087 | -0.007 | -0.754 | 0.056 | 5 | 10 | 0.24 | 0.13 | 400.3661 | -0.079129 | 0.016922 | 1 | 10.0051 | -0.0095658 | 0.0019352 | 1 | 2 | 2 | 2/2 | 3.1787 | 2.683 | 0.091168 | 0.093605 | 0.058379 | 0.061405 | 29491.3 | 22921.7 | 31898.4 | 23271.7 | 40356.2 | 26785.8 | 47472 | 31516 | 2.193 | 2.277 | 0.032954 | 0 | 100 | 100 | 0.162 | 0.0555 | -0.77268 | 0.0033169 | -2.9208e-06 | 1.168e-09 | -0.00023201 | 0.010542 | -0.00069852 | 2.0486e-05 | 5 | 2041 | 1 | 19 | 5 | 5 | 1.3452 | 2.6819 | 2.2473 | 2.605 | 2.1985 | 2.406 | 37.6263 | 24.2626 | 18 | 625.19 | 816.883 | 23.6315 | 27.5246 | 30.0001 | 27.5199 | 27.5177 | 26.9187 | 43.66 | 0 | 23.6314 | 400 | 10 | 101.566 | 101.705
24 | 1673538224.6 | 4067 | 20230112 16:43:44 | 16:43:44 | none |  | 1673538224.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 808.179 | 808.8268 | -0.00019008 | 66.8486 | 0 | 9.9948 | 9.9488 | -1.4079e-06 | 78.5424 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0.5 | 0: Broadleaf | TRUE | 1673538224.6 | 800.779 | 800.114 | 9.9491 | 9.9955 | 800.17 | 9.8935 | 600.011 | 99.3067 | 0.099946 | 25.1965 | 25.0122 | 999.9 | 0 | 0 | 10002.5 | 0 | 0.22731 | 0 | 0 | 0 | 0 | 2.44 | 0 | -21.8 | -2.28 | 34.687 | 41.562 | 37.875 | 40.875 | 36.312 | 0 | 0 | 0 | 1673538225.2 | 0 | 1673537805.1 | 16:36:45 | 1673537805.1 | 1673537805.1 | 11 | -0.087 | -0.007 | -0.754 | 0.056 | 5 | 10 | 0.24 | 0.13 | 800.0898 | 0.090857 | 0.022158 | 1 | 9.9975 | -0.010253 | 0.0020797 | 1 | 2 | 2 | 2/2 | 3.1788 | 2.6831 | 0.14967 | 0.15354 | 0.058392 | 0.061382 | 27593.8 | 21405.6 | 31899.3 | 23271.4 | 40359.7 | 26789.2 | 47473.6 | 31516.9 | 2.1932 | 2.2782 | 0.033319 | 0 | 100 | 100 | 0.609 | 0.0555 | -0.77268 | 0.0033169 | -2.9208e-06 | 1.168e-09 | -0.00023201 | 0.010542 | -0.00069852 | 2.0486e-05 | 5 | 2041 | 1 | 19 | 7 | 7 | 2.3584 | 2.6746 | 2.2473 | 2.605 | 2.1985 | 2.4182 | 37.6022 | 24.2626 | 18 | 625.237 | 817.999 | 23.5567 | 27.5187 | 30.0001 | 27.5106 | 27.5107 | 47.1791 | 43.66 | 0 | 23.5409 | 800 | 10 | 101.569 | 101.706
25 | 1673538346.1 | 4188.5 | 20230112 16:45:46 | 16:45:46 | none |  | 1673538346.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1212.1143 | 1212.8319 | 0.0001386 | 66.8486 | 0 | 9.984 | 9.9441 | -1.8362e-07 | 78.5424 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0.5 | 0: Broadleaf | TRUE | 1673538346.1 | 1200.79 | 1200.04 | 9.9442 | 9.984 | 1199.77 | 9.8887 | 599.957 | 99.3161 | 0.099788 | 25.1992 | 24.9963 | 999.9 | 0 | 0 | 10001.2 | 0 | 0.22731 | 0 | 0 | 0 | 0 | 1.48 | 0 | -15.82 | -2.29 | 34.812 | 40.312 | 37.625 | 39.625 | 36 | 0 | 0 | 0 | 1673538347 | 0 | 1673537805.1 | 16:36:45 | 1673537805.1 | 1673537805.1 | 11 | -0.087 | -0.007 | -0.754 | 0.056 | 5 | 10 | 0.24 | 0.13 | 1200.0049 | -0.076516 | 0.031863 | 1 | 9.9873 | -0.012594 | 0.0024885 | 1 | 2 | 2 | 2/2 | 3.1787 | 2.6829 | 0.19436 | 0.19925 | 0.058376 | 0.061335 | 26143.3 | 20249.3 | 31899.1 | 23271 | 40361.9 | 26791.5 | 47473 | 31516.3 | 2.1931 | 2.2796 | 0.033103 | 0 | 100 | 100 | 1.02 | 0.0555 | -0.77268 | 0.0033169 | -2.9208e-06 | 1.168e-09 | -0.00023201 | 0.010542 | -0.00069852 | 2.0486e-05 | 5 | 2041 | 1 | 19 | 9 | 9 | 3.2739 | 2.6538 | 2.2473 | 2.6062 | 2.1985 | 2.4292 | 37.5781 | 24.2539 | 18 | 625.052 | 819.312 | 23.4749 | 27.5106 | 30.0001 | 27.5033 | 27.5014 | 65.4946 | 43.66 | 0 | 23.4736 | 1200 | 10 | 101.569 | 101.704
26 | 1673538468.1 | 4310.5 | 20230112 16:47:48 | 16:47:48 | none |  | 1673538468.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1414.1148 | 1415.0043 | -0.0061081 | 66.8486 | 0 | 9.9574 | 9.9285 | -3.6024e-07 | 78.5424 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0.5 | 0: Broadleaf | TRUE | 1673538468.1 | 1400.97 | 1399.92 | 9.9283 | 9.9573 | 1399.62 | 9.8728 | 600.023 | 99.3215 | 0.10007 | 25.1664 | 24.9938 | 999.9 | 0 | 0 | 10010 | 0 | 0.22731 | 0 | 0 | 0 | 0 | 2.06 | 0 | -14.71 | -1.36 | 33.75 | 38.312 | 36.25 | 37 | 34.875 | 0 | 0 | 0 | 1673538468.8 | 0 | 1673537805.1 | 16:36:45 | 1673537805.1 | 1673537805.1 | 11 | -0.087 | -0.007 | -0.754 | 0.056 | 5 | 10 | 0.24 | 0.13 | 1399.999 | 0.072125 | 0.06525 | 1 | 9.9616 | -0.014524 | 0.0029217 | 1 | 2 | 2 | 2/2 | 3.1789 | 2.6833 | 0.21367 | 0.21894 | 0.058309 | 0.061215 | 25518.1 | 19751.6 | 31900.8 | 23271.3 | 40367.9 | 26795.9 | 47475.7 | 31516.7 | 2.1933 | 2.2802 | 0.032827 | 0 | 100 | 100 | 1.35 | 0.0555 | -0.77268 | 0.0033169 | -2.9208e-06 | 1.168e-09 | -0.00023201 | 0.010542 | -0.00069852 | 2.0486e-05 | 5 | 2041 | 1 | 19 | 11.1 | 11.1 | 3.7048 | 2.6575 | 2.2473 | 2.6062 | 2.1985 | 2.3352 | 37.554 | 24.2539 | 18 | 625.1 | 819.735 | 23.627 | 27.5036 | 30.0001 | 27.494 | 27.492 | 74.083 | 43.66 | 0 | 23.6286 | 1400 | 10 | 101.574 | 101.705
27 | 1673538594.1 | 4436.5 | 20230112 16:49:54 | 16:49:54 | none |  | 1673538594.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1818.0732 | 1819.2894 | 0.00048935 | 66.8486 | 0 | 9.9708 | 9.9451 | 3.8242e-07 | 78.5424 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0.5 | 0: Broadleaf | TRUE | 1673538594.1 | 1801.18 | 1800.08 | 9.9449 | 9.9698 | 1798.64 | 9.8893 | 600.011 | 99.3292 | 0.10004 | 25.1728 | 25.0052 | 999.9 | 0 | 0 | 9986.25 | 0 | 0.22731 | 0 | 0 | 0 | 0 | 1.94 | 0 | -20.31 | -2.76 | 34.25 | 40.562 | 37.312 | 39.562 | 35.75 | 0 | 0 | 0 | 1673538594.8 | 0 | 1673537805.1 | 16:36:45 | 1673537805.1 | 1673537805.1 | 11 | -0.087 | -0.007 | -0.754 | 0.056 | 5 | 10 | 0.24 | 0.13 | 1799.9941 | 0.077352 | 0.058476 | 1 | 9.9667 | 0.034657 | 0.011045 | 1 | 2 | 2 | 2/2 | 3.1789 | 2.6831 | 0.24788 | 0.25387 | 0.058389 | 0.061279 | 24407.6 | 18868.9 | 31900.6 | 23271.9 | 40366 | 26795.3 | 47475.7 | 31516.9 | 2.1936 | 2.2818 | 0.03314 | 0 | 100 | 100 | 2.54 | 0.0555 | -0.77268 | 0.0033169 | -2.9208e-06 | 1.168e-09 | -0.00023201 | 0.010542 | -0.00069852 | 2.0486e-05 | 5 | 2041 | 1 | 19 | 13.2 | 13.2 | 4.5105 | 2.6294 | 2.2473 | 2.605 | 2.1985 | 2.3853 | 37.5059 | 24.2626 | 18 | 625.222 | 821.253 | 23.6311 | 27.4942 | 30.0001 | 27.485 | 27.4827 | 90.2128 | 43.3851 | 0 | 23.6023 | 1800 | 10 | 101.574 | 101.707
28 | 1673538721.1 | 4563.5 | 20230112 16:52:01 | 16:52:01 | none |  | 1673538721.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2020.1331 | 2021.676 | -0.0027061 | 66.8486 | 0 | 9.9451 | 9.9266 | -3.4699e-07 | 78.5424 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0.5 | 0: Broadleaf | TRUE | 1673538721.1 | 2001.63 | 2000.06 | 9.926 | 9.945 | 1998.12 | 9.8706 | 600.059 | 99.3346 | 0.099834 | 25.1965 | 25.0042 | 999.9 | 0 | 0 | 10010 | 0 | 0.22731 | 0 | 0 | 0 | 0 | 4.74 | 0 | -22.45 | -3.1 | 34.75 | 41.625 | 37.937 | 41.062 | 36.375 | 0 | 0 | 0 | 1673538722 | 0 | 1673537805.1 | 16:36:45 | 1673537805.1 | 1673537805.1 | 11 | -0.087 | -0.007 | -0.754 | 0.056 | 5 | 10 | 0.24 | 0.13 | 2000.0083 | -0.083624 | 0.071564 | 1 | 9.9493 | -0.013315 | 0.0026758 | 1 | 2 | 2 | 2/2 | 3.179 | 2.6831 | 0.26321 | 0.26949 | 0.058309 | 0.061168 | 23911.1 | 18474.4 | 31901.8 | 23272.6 | 40371.9 | 26799.7 | 47477.6 | 31517.7 | 2.1936 | 2.2826 | 0.033207 | 0 | 100 | 100 | 3.51 | 0.0555 | -0.77268 | 0.0033169 | -2.9208e-06 | 1.168e-09 | -0.00023201 | 0.010542 | -0.00069852 | 2.0486e-05 | 5 | 2041 | 1 | 19 | 15.3 | 15.3 | 4.8865 | 2.6062 | 2.2473 | 2.605 | 2.1985 | 2.4207 | 37.4819 | 24.2626 | 18 | 625.179 | 821.907 | 23.5206 | 27.4849 | 30 | 27.4757 | 27.4734 | 97.7523 | 43.3851 | 0 | 23.5187 | 2000 | 10 | 101.578 | 101.71
SysConst | Oxygen
2
29 | 1673539601.1 | 5443.5 | 20230112 17:06:41 | 17:06:41 | none |  | 1673539601.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.2772 | 6.5024 | 2.1635e-05 | 66.8465 | 0 | 9.9679 | 9.9479 | 9.0267e-06 | 78.5412 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0.5 | 0: Broadleaf | TRUE | 1673539601.1 | 6.4369 | 6.2095 | 9.9482 | 9.967 | 7.1731 | 9.9041 | 600.024 | 99.3194 | 0.099654 | 25.1854 | 25.0084 | 999.9 | 0 | 0 | 10018.8 | 0 | 0.22731 | 0 | 0 | 0 | 0 | 4.89 | 0 | -17.9 | -1.18 | 34.437 | 40.937 | 37.5 | 40.125 | 36 | 0 | 0 | 0 | 1673539601.6 | 0 | 1673539436.1 | 17:03:56 | 1673539436.1 | 1673539434.1 | 12 | 0.013 | -0.012 | -0.737 | 0.044 | 6 | 10 | 0.33 | 0.14 | 6.2218 | -0.066409 | 0.011422 | 1 | 9.951 | 0.046977 | 0.012017 | 1 | 2 | 2 | 2/2 | 3.1789 | 2.683 | 0.0020014 | 0.0017941 | 0.058284 | 0.061086 | 32390.1 | 25244.5 | 31903.3 | 23272.5 | 40363.3 | 26794 | 47480.1 | 31518.2 | 2.1943 | 2.2778 | 0.033967 | 0 | 100 | 100 | -0.736 | 0.044 | -0.75983 | 0.0033169 | -2.9208e-06 | 1.168e-09 | -0.011778 | 0.010542 | -0.00069852 | 2.0486e-05 | 5 | 2041 | 1 | 19 | 2.8 | 2.8 | 0.032959 | 4.9988 | 2.2473 | 2.605 | 2.1985 | 2.3352 | 37.5781 | 24.2451 | 18 | 624.976 | 816.126 | 23.5818 | 27.4243 | 30 | 27.413 | 27.4129 | 0 | 42.0024 | 0 | 23.5741 | 0 | 10 | 101.583 | 101.71
30 | 1673539734.1 | 5576.5 | 20230112 17:08:54 | 17:08:54 | none |  | 1673539734.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 404.3828 | 404.72 | 7.3336e-05 | 66.8465 | 0 | 9.9595 | 9.9439 | -1.0839e-06 | 78.5412 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0.5 | 0: Broadleaf | TRUE | 1673539734.1 | 400.692 | 400.303 | 9.9436 | 9.9594 | 400.517 | 9.8996 | 600.006 | 99.3078 | 0.1001 | 25.196 | 25.0046 | 999.9 | 0 | 0 | 9998.75 | 0 | 0.22731 | 0 | 0 | 0 | 0 | 3.04 | 0 | -20.63 | -3.16 | 34.937 | 41.875 | 38.187 | 41.437 | 36.562 | 0 | 0 | 0 | 1673539734.8 | 0 | 1673539436.1 | 17:03:56 | 1673539436.1 | 1673539434.1 | 12 | 0.013 | -0.012 | -0.737 | 0.044 | 6 | 10 | 0.33 | 0.14 | 400.3369 | -0.053206 | 0.027152 | 1 | 9.9646 | -0.014446 | 0.0028497 | 1 | 2 | 2 | 2/2 | 3.1789 | 2.6832 | 0.091152 | 0.093581 | 0.058258 | 0.061045 | 29496.9 | 22923.6 | 31903.3 | 23272.8 | 40367.8 | 26798.1 | 47479.4 | 31518.3 | 2.1945 | 2.2795 | 0.034109 | 0 | 100 | 100 | 0.175 | 0.044 | -0.75983 | 0.0033169 | -2.9208e-06 | 1.168e-09 | -0.011778 | 0.010542 | -0.00069852 | 2.0486e-05 | 5 | 2041 | 1 | 19 | 5 | 5 | 1.3416 | 2.6831 | 2.2473 | 2.6062 | 2.1985 | 2.4085 | 37.6022 | 24.2626 | 18 | 624.999 | 817.758 | 23.4768 | 27.415 | 30.0001 | 27.4014 | 27.4013 | 26.8437 | 42.0024 | 0 | 23.4706 | 400 | 10 | 101.582 | 101.711
31 | 1673539854.6 | 5697 | 20230112 17:10:54 | 17:10:54 | none |  | 1673539854.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 808.1 | 808.732 | -0.0038082 | 66.8465 | 0 | 9.943 | 9.9272 | -9.7562e-08 | 78.5412 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0.5 | 0: Broadleaf | TRUE | 1673539854.6 | 800.695 | 800.107 | 9.927 | 9.9424 | 800.072 | 9.883 | 600.075 | 99.2987 | 0.099807 | 25.1823 | 24.9945 | 999.9 | 0 | 0 | 10005 | 0 | 0.22731 | 0 | 0 | 0 | 0 | 2.53 | 0 | -14.03 | -1.48 | 34.312 | 38.875 | 36.812 | 37.812 | 35.375 | 0 | 0 | 0 | 1673539855.4 | 0 | 1673539436.1 | 17:03:56 | 1673539436.1 | 1673539434.1 | 12 | 0.013 | -0.012 | -0.737 | 0.044 | 6 | 10 | 0.33 | 0.14 | 800.097 | -0.0054355 | 0.033474 | 1 | 9.9464 | -0.012394 | 0.0024582 | 1 | 2 | 2 | 2/2 | 3.1791 | 2.683 | 0.14958 | 0.15347 | 0.05818 | 0.060962 | 27602.7 | 21409.1 | 31905.8 | 23272.8 | 40377.4 | 26803.2 | 47483.5 | 31519.2 | 2.1948 | 2.2805 | 0.034124 | 0 | 100 | 100 | 0.623 | 0.044 | -0.75983 | 0.0033169 | -2.9208e-06 | 1.168e-09 | -0.011778 | 0.010542 | -0.00069852 | 2.0486e-05 | 5 | 2041 | 1 | 19 | 7 | 7 | 2.3547 | 2.6685 | 2.2473 | 2.6062 | 2.1985 | 2.3987 | 37.554 | 24.2539 | 18 | 625.137 | 818.572 | 23.5313 | 27.4034 | 30 | 27.3921 | 27.3909 | 47.1031 | 42.0024 | 0 | 23.5386 | 800 | 10 | 101.591 | 101.713
32 | 1673539975.1 | 5817.5 | 20230112 17:12:55 | 17:12:55 | none |  | 1673539975.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1212.1362 | 1212.8004 | 0.005834 | 66.8465 | 0 | 9.9597 | 9.9423 | -1.2406e-06 | 78.5412 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0.5 | 0: Broadleaf | TRUE | 1673539975.1 | 1200.72 | 1200.04 | 9.9423 | 9.9588 | 1199.68 | 9.8983 | 600.06 | 99.2593 | 0.1002 | 25.1625 | 24.9985 | 999.9 | 0 | 0 | 9996.25 | 0 | 0.22731 | 0 | 0 | 0 | 0 | 0.09 | 0 | -19.43 | -2.41 | 34 | 39.562 | 36.812 | 38.25 | 35.375 | 0 | 0 | 0 | 1673539976 | 0 | 1673539436.1 | 17:03:56 | 1673539436.1 | 1673539434.1 | 12 | 0.013 | -0.012 | -0.737 | 0.044 | 6 | 10 | 0.33 | 0.14 | 1200.0115 | 0.0054355 | 0.054395 | 1 | 9.9641 | -0.013643 | 0.0026896 | 1 | 2 | 2 | 2/2 | 3.1791 | 2.6833 | 0.19414 | 0.19903 | 0.058228 | 0.061017 | 26156.5 | 20257 | 31906 | 23273.2 | 40377.3 | 26803.6 | 47483.4 | 31519.8 | 2.1947 | 2.2818 | 0.034071 | 0 | 100 | 100 | 1.04 | 0.044 | -0.75983 | 0.0033169 | -2.9208e-06 | 1.168e-09 | -0.011778 | 0.010542 | -0.00069852 | 2.0486e-05 | 5 | 2041 | 1 | 19 | 9 | 9 | 3.269 | 2.666 | 2.2473 | 2.6062 | 2.1985 | 2.3792 | 37.53 | 24.2539 | 18 | 624.979 | 819.79 | 23.6249 | 27.3918 | 30.0002 | 27.3805 | 27.3804 | 65.3999 | 41.7317 | 0 | 23.6414 | 1200 | 10 | 101.591 | 101.714
33 | 1673540096.1 | 5938.5 | 20230112 17:14:56 | 17:14:56 | none |  | 1673540096.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1414.1474 | 1415.0347 | 0.0022504 | 66.8465 | 0 | 9.9861 | 9.9718 | 5.0438e-07 | 78.5412 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0.5 | 0: Broadleaf | TRUE | 1673540096.1 | 1400.91 | 1399.96 | 9.9719 | 9.9865 | 1399.54 | 9.9279 | 600.019 | 99.2606 | 0.10019 | 25.1875 | 25.0097 | 999.9 | 0 | 0 | 9985.62 | 0 | 0.22731 | 0 | 0 | 0 | 0 | 0.37 | 0 | -17.65 | -1.75 | 34.437 | 41 | 37.562 | 40.25 | 36.062 | 0 | 0 | 0 | 1673540096.6 | 0 | 1673539436.1 | 17:03:56 | 1673539436.1 | 1673539434.1 | 12 | 0.013 | -0.012 | -0.737 | 0.044 | 6 | 10 | 0.33 | 0.14 | 1400.0341 | 0.007108 | 0.03298 | 1 | 9.9903 | -0.0023945 | 0.0044878 | 1 | 2 | 2 | 2/2 | 3.179 | 2.6832 | 0.21341 | 0.21869 | 0.058363 | 0.061148 | 25530.9 | 19759.4 | 31905.8 | 23272.6 | 40372.5 | 26799.6 | 47483.6 | 31518.7 | 2.1949 | 2.2826 | 0.034541 | 0 | 100 | 100 | 1.37 | 0.0441 | -0.75983 | 0.0033169 | -2.9208e-06 | 1.168e-09 | -0.011778 | 0.010542 | -0.00069852 | 2.0486e-05 | 5 | 2041 | 1 | 19 | 11 | 11 | 3.6987 | 2.6502 | 2.2473 | 2.6062 | 2.1985 | 2.3438 | 37.4819 | 24.2451 | 18 | 625.021 | 820.477 | 23.6247 | 27.3871 | 30.0002 | 27.3759 | 27.3734 | 73.9771 | 41.4522 | 0 | 23.6186 | 1400 | 10 | 101.591 | 101.711
34 | 1673540216.6 | 6059 | 20230112 17:16:56 | 17:16:56 | none |  | 1673540216.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1818.2091 | 1819.1349 | 0.0046996 | 66.8465 | 0 | 9.9616 | 9.9497 | -4.0342e-07 | 78.5412 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0.5 | 0: Broadleaf | TRUE | 1673540216.6 | 1801.04 | 1799.96 | 9.9495 | 9.9604 | 1798.48 | 9.9055 | 600.001 | 99.2532 | 0.099875 | 25.2024 | 25.0151 | 999.9 | 0 | 0 | 9993.75 | 0 | 0.22731 | 0 | 0 | 0 | 0 | -1.63 | 0 | -15.15 | -2.07 | 34.937 | 41.812 | 38.125 | 41.375 | 36.562 | 0 | 0 | 0 | 1673540217.2 | 0 | 1673539436.1 | 17:03:56 | 1673539436.1 | 1673539434.1 | 12 | 0.013 | -0.012 | -0.737 | 0.044 | 6 | 10 | 0.33 | 0.14 | 1800.0146 | -0.056655 | 0.065708 | 1 | 9.9658 | -0.015404 | 0.0029898 | 1 | 2 | 2 | 2/2 | 3.1789 | 2.683 | 0.24752 | 0.2535 | 0.058259 | 0.061022 | 24424.4 | 18879.4 | 31906.8 | 23273 | 40380 | 26804.5 | 47485.3 | 31518.9 | 2.1949 | 2.2839 | 0.035379 | 0 | 100 | 100 | 2.56 | 0.044 | -0.75983 | 0.0033169 | -2.9208e-06 | 1.168e-09 | -0.011778 | 0.010542 | -0.00069852 | 2.0486e-05 | 5 | 2041 | 1 | 19 | 13 | 13 | 4.5032 | 2.6331 | 2.2473 | 2.6062 | 2.1985 | 2.3828 | 37.4578 | 24.2539 | 18 | 624.93 | 821.75 | 23.5233 | 27.3813 | 30.0001 | 27.3689 | 27.3665 | 90.0736 | 41.4522 | 0 | 23.5245 | 1800 | 10 | 101.594 | 101.713
35 | 1673540337.1 | 6179.5 | 20230112 17:18:57 | 17:18:57 | none |  | 1673540337.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2020.1372 | 2021.5669 | 0.0030105 | 66.8465 | 0 | 9.9607 | 9.9491 | -5.9471e-07 | 78.5412 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0.5 | 0: Broadleaf | TRUE | 1673540337.1 | 2001.48 | 1999.91 | 9.9492 | 9.9599 | 1997.96 | 9.9052 | 599.958 | 99.251 | 0.10017 | 25.1845 | 24.986 | 999.9 | 0 | 0 | 9985 | 0 | 0.22731 | 0 | 0 | 0 | 0 | 3.12 | 0 | -17.04 | -2.09 | 34.312 | 38.937 | 36.812 | 37.812 | 35.375 | 0 | 0 | 0 | 1673540337.8 | 0 | 1673539436.1 | 17:03:56 | 1673539436.1 | 1673539434.1 | 12 | 0.013 | -0.012 | -0.737 | 0.044 | 6 | 10 | 0.33 | 0.14 | 1999.9983 | -0.020279 | 0.044057 | 1 | 9.9561 | 0.040928 | 0.010166 | 1 | 2 | 2 | 2/2 | 3.1788 | 2.6832 | 0.2628 | 0.26907 | 0.058257 | 0.06102 | 23928.1 | 18486 | 31906.2 | 23273.4 | 40380 | 26805.3 | 47484.4 | 31519.2 | 2.1951 | 2.2847 | 0.033975 | 0 | 100 | 100 | 3.52 | 0.044 | -0.75983 | 0.0033169 | -2.9208e-06 | 1.168e-09 | -0.011778 | 0.010542 | -0.00069852 | 2.0486e-05 | 5 | 2041 | 1 | 19 | 15 | 15.1 | 4.8792 | 2.6038 | 2.2473 | 2.6062 | 2.1985 | 2.4451 | 37.4338 | 24.2626 | 18 | 625.021 | 822.444 | 23.525 | 27.3755 | 30.0001 | 27.362 | 27.3599 | 97.6097 | 41.1764 | 0 | 23.5315 | 2000 | 10 | 101.592 | 101.714
SysConst | Oxygen
21
36 | 1673541474.1 | 7316.5 | 20230112 17:37:54 | 17:37:54 | none |  | 1673541474.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.9537 | 7.2521 | 1.29e-05 | 66.8918 | 0 | 9.988 | 9.9843 | -1.1382e-05 | 78.3656 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0.5 | 0: Broadleaf | TRUE | 1673541474.1 | 7.1776 | 6.8865 | 9.9843 | 9.9878 | 7.9988 | 9.9405 | 600.014 | 99.2561 | 0.099826 | 25.1736 | 24.9989 | 999.9 | 0 | 0 | 9997.5 | 0 | 0.22731 | 0 | 0 | 0 | 0 | 4.33 | 0 | -24.08 | -2.97 | 34.187 | 40.312 | 37.125 | 39.187 | 35.687 | 0 | 0 | 0 | 1673541474.8 | 0 | 1673541313.1 | 17:35:13 | 1673541310.6 | 1673541308.6 | 13 | 0.002 | 0 | -0.821 | 0.044 | 7 | 10 | 0.22 | 0.16 | 6.8836 | -0.083793 | 0.014118 | 1 | 9.9911 | 0.00069177 | 0.0060668 | 1 | 2 | 2 | 2/2 | 3.179 | 2.6829 | 0.0022311 | 0.001989 | 0.056798 | 0.059461 | 32388.8 | 25241.4 | 31908.8 | 23273.9 | 40434.6 | 26842.5 | 47488.7 | 31520.6 | 2.1958 | 2.2803 | 0.034891 | 0 | 100 | 100 | -0.821 | 0.0438 | -0.8475 | 0.0033169 | -2.9208e-06 | 1.168e-09 | -0.012109 | 0.010542 | -0.00069852 | 2.0486e-05 | 5 | 2041 | 1 | 19 | 2.7 | 2.8 | 0.032959 | 4.9988 | 2.2473 | 2.605 | 2.1985 | 2.3669 | 37.3858 | 24.2539 | 18 | 624.824 | 817.021 | 23.7104 | 27.3106 | 30 | 27.2949 | 27.2947 | 0 | 41.0329 | 0 | 23.6762 | 0 | 10 | 101.601 | 101.717
37 | 1673541598.1 | 7440.5 | 20230112 17:39:58 | 17:39:58 | none |  | 1673541598.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 404.3928 | 404.6629 | -0.00015913 | 66.8918 | 0 | 9.9775 | 9.9737 | -2.7588e-06 | 78.3656 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0.5 | 0: Broadleaf | TRUE | 1673541598.1 | 400.635 | 400.317 | 9.9737 | 9.9767 | 400.548 | 9.93 | 600.001 | 99.2496 | 0.099809 | 25.1875 | 25.0076 | 999.9 | 0 | 0 | 10016.2 | 0 | 0.22731 | 0 | 0 | 0 | 0 | 3.55 | 0 | -22.7 | -3.27 | 34.687 | 41.437 | 37.875 | 40.812 | 36.312 | 0 | 0 | 0 | 1673541599 | 0 | 1673541313.1 | 17:35:13 | 1673541310.6 | 1673541308.6 | 13 | 0.002 | 0 | -0.821 | 0.044 | 7 | 10 | 0.22 | 0.16 | 400.3346 | -0.071812 | 0.028666 | 1 | 9.9826 | -0.015983 | 0.003167 | 1 | 2 | 2 | 2/2 | 3.179 | 2.6831 | 0.090722 | 0.093133 | 0.056748 | 0.059407 | 29517.1 | 22936.3 | 31909.6 | 23273.9 | 40441.1 | 26846.8 | 47489.1 | 31520.5 | 2.1957 | 2.2818 | 0.035547 | 0 | 100 | 100 | 0.087 | 0.0438 | -0.8475 | 0.0033169 | -2.9208e-06 | 1.168e-09 | -0.012109 | 0.010542 | -0.00069852 | 2.0486e-05 | 5 | 2041 | 1 | 19 | 4.8 | 4.8 | 1.3306 | 2.6831 | 2.2473 | 2.605 | 2.1985 | 2.3425 | 37.4098 | 24.2539 | 18 | 624.739 | 818.4 | 23.6095 | 27.3059 | 30.0001 | 27.2903 | 27.2901 | 26.6282 | 41.0329 | 0 | 23.6091 | 400 | 10 | 101.602 | 101.717
38 | 1673541718.6 | 7561 | 20230112 17:41:58 | 17:41:58 | none |  | 1673541718.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 808.1515 | 808.6682 | 0.021021 | 66.8918 | 0 | 9.9577 | 9.9518 | -1.8011e-06 | 78.3656 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0.5 | 0: Broadleaf | TRUE | 1673541718.6 | 800.605 | 800.125 | 9.9516 | 9.9554 | 800.07 | 9.9079 | 600.034 | 99.252 | 0.099994 | 25.2008 | 25.0014 | 999.9 | 0 | 0 | 10016.2 | 0 | 0.22731 | 0 | 0 | 0 | 0 | 1.32 | 0 | -18.69 | -2.3 | 35 | 41 | 37.937 | 40.437 | 36.312 | 0 | 0 | 0 | 1673541719.6 | 0 | 1673541313.1 | 17:35:13 | 1673541310.6 | 1673541308.6 | 13 | 0.002 | 0 | -0.821 | 0.044 | 7 | 10 | 0.22 | 0.16 | 800.0925 | 0.0026969 | 0.033423 | 1 | 9.962 | -0.017761 | 0.0034949 | 1 | 2 | 2 | 2/2 | 3.1791 | 2.6833 | 0.14858 | 0.15244 | 0.056653 | 0.059312 | 27639.1 | 21435.6 | 31909.9 | 23273.1 | 40448.7 | 26851.2 | 47490.2 | 31520.2 | 2.1961 | 2.2834 | 0.035573 | 0 | 100 | 100 | 0.535 | 0.0437 | -0.8475 | 0.0033169 | -2.9208e-06 | 1.168e-09 | -0.012109 | 0.010542 | -0.00069852 | 2.0486e-05 | 5 | 2041 | 1 | 19 | 6.8 | 6.8 | 2.3303 | 2.666 | 2.2473 | 2.605 | 2.1985 | 2.3547 | 37.3618 | 24.2539 | 18 | 624.943 | 820.008 | 23.5249 | 27.3036 | 30 | 27.2857 | 27.2854 | 46.6384 | 41.0329 | 0 | 23.5188 | 800 | 10 | 101.604 | 101.715
39 | 1673541839.1 | 7681.5 | 20230112 17:43:59 | 17:43:59 | none |  | 1673541839.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1211.9928 | 1212.5637 | 0.0013095 | 66.8918 | 0 | 9.9651 | 9.9524 | 1.8174e-06 | 78.3656 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0.5 | 0: Broadleaf | TRUE | 1673541839.1 | 1200.49 | 1200.03 | 9.9524 | 9.9651 | 1199.55 | 9.9087 | 600.032 | 99.2539 | 0.10006 | 25.161 | 24.9796 | 999.9 | 0 | 0 | 10007.5 | 0 | 0.22731 | 0 | 0 | 0 | 0 | 2.96 | 0 | -15.78 | -1.44 | 33.75 | 38 | 36.125 | 36.75 | 34.75 | 0 | 0 | 0 | 1673541839.6 | 0 | 1673541313.1 | 17:35:13 | 1673541310.6 | 1673541308.6 | 13 | 0.002 | 0 | -0.821 | 0.044 | 7 | 10 | 0.22 | 0.16 | 1199.9963 | -0.090105 | 0.046368 | 1 | 9.9514 | 0.046045 | 0.010913 | 1 | 2 | 2 | 2/2 | 3.1791 | 2.6833 | 0.19273 | 0.19759 | 0.056658 | 0.059358 | 26206.4 | 20294 | 31910.5 | 23273.3 | 40450.4 | 26851.6 | 47490.1 | 31520.6 | 2.1963 | 2.2844 | 0.034459 | 0 | 100 | 100 | 0.94 | 0.0437 | -0.8475 | 0.0033169 | -2.9208e-06 | 1.168e-09 | -0.012109 | 0.010542 | -0.00069852 | 2.0486e-05 | 5 | 2041 | 1 | 19 | 8.8 | 8.8 | 3.2336 | 2.6587 | 2.2473 | 2.605 | 2.1985 | 2.3425 | 37.3378 | 24.2539 | 18 | 625.058 | 820.984 | 23.6539 | 27.299 | 29.9999 | 27.2811 | 27.2808 | 64.6794 | 40.7483 | 0 | 23.6702 | 1200 | 10 | 101.605 | 101.716
40 | 1673541972.1 | 7814.5 | 20230112 17:46:12 | 17:46:12 | none |  | 1673541972.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1414.0687 | 1414.6924 | 0.0024793 | 66.8918 | 0 | 9.9908 | 9.9811 | -8.9018e-06 | 78.3656 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0.5 | 0: Broadleaf | TRUE | 1673541972.1 | 1400.57 | 1400.05 | 9.9814 | 9.9909 | 1399.3 | 9.9376 | 600.037 | 99.2488 | 0.099784 | 25.1727 | 25 | 999.9 | 0 | 0 | 10018.8 | 0 | 0.22731 | 0 | 0 | 0 | 0 | 3.96 | 0 | -16.22 | -2.15 | 34.25 | 40.5 | 37.25 | 39.437 | 35.75 | 0 | 0 | 0 | 1673541972.8 | 0 | 1673541313.1 | 17:35:13 | 1673541310.6 | 1673541308.6 | 13 | 0.002 | 0 | -0.821 | 0.044 | 7 | 10 | 0.22 | 0.16 | 1399.9783 | -0.087596 | 0.045312 | 1 | 9.9874 | 0.046032 | 0.016376 | 1 | 2 | 2 | 2/2 | 3.1791 | 2.6831 | 0.21177 | 0.21702 | 0.056783 | 0.059473 | 25588.7 | 19802.7 | 31910.8 | 23273.6 | 40446.6 | 26849.2 | 47490.9 | 31520.8 | 2.1961 | 2.2856 | 0.034958 | 0 | 100 | 100 | 1.27 | 0.0438 | -0.8475 | 0.0033169 | -2.9208e-06 | 1.168e-09 | -0.012109 | 0.010542 | -0.00069852 | 2.0486e-05 | 5 | 2041 | 1 | 19 | 11 | 11.1 | 3.656 | 2.6318 | 2.2473 | 2.605 | 2.1985 | 2.395 | 37.3138 | 24.2626 | 18 | 624.865 | 822.061 | 23.6634 | 27.2923 | 30 | 27.2765 | 27.2762 | 73.1238 | 40.4685 | 0 | 23.6601 | 1400 | 10 | 101.606 | 101.717
41 | 1673542101.1 | 7943.5 | 20230112 17:48:21 | 17:48:21 | none |  | 1673542101.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1818.1433 | 1818.7857 | 0.00034661 | 66.8918 | 0 | 9.9606 | 9.9557 | -2.2498e-06 | 78.3656 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0.5 | 0: Broadleaf | TRUE | 1673542101.1 | 1800.67 | 1799.97 | 9.9553 | 9.9595 | 1798.2 | 9.9116 | 600.009 | 99.2521 | 0.10016 | 25.1937 | 25.0134 | 999.9 | 0 | 0 | 9998.12 | 0 | 0.22731 | 0 | 0 | 0 | 0 | 3.3 | 0 | -15.78 | -1.8 | 34.75 | 41.562 | 37.937 | 41 | 36.375 | 0 | 0 | 0 | 1673542101.8 | 0 | 1673541313.1 | 17:35:13 | 1673541310.6 | 1673541308.6 | 13 | 0.002 | 0 | -0.821 | 0.044 | 7 | 10 | 0.22 | 0.16 | 1800.0139 | 0.097003 | 0.051032 | 1 | 9.9647 | -0.014043 | 0.0027374 | 1 | 2 | 2 | 2/2 | 3.179 | 2.6833 | 0.2455 | 0.25143 | 0.056671 | 0.059333 | 24493.4 | 18932.4 | 31910.4 | 23273.5 | 40452.7 | 26853.7 | 47490.6 | 31520.2 | 2.1961 | 2.2869 | 0.036024 | 0 | 100 | 100 | 2.47 | 0.0437 | -0.8475 | 0.0033169 | -2.9208e-06 | 1.168e-09 | -0.012109 | 0.010542 | -0.00069852 | 2.0486e-05 | 5 | 2041 | 1 | 19 | 13.2 | 13.2 | 4.4482 | 2.6269 | 2.2473 | 2.605 | 2.1985 | 2.3743 | 37.2899 | 24.2539 | 18 | 624.817 | 823.311 | 23.5788 | 27.2874 | 30 | 27.2719 | 27.2693 | 88.9782 | 40.4685 | 0 | 23.5723 | 1800 | 10 | 101.606 | 101.716
42 | 1673542225.1 | 8067.5 | 20230112 17:50:25 | 17:50:25 | none |  | 1673542225.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2020.061 | 2020.9095 | -0.02842 | 66.8918 | 0 | 9.9605 | 9.9576 | -1.4297e-06 | 78.3656 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0.5 | 0: Broadleaf | TRUE | 1673542225.1 | 2000.77 | 1999.82 | 9.9575 | 9.9578 | 1997.34 | 9.9138 | 600.032 | 99.2639 | 0.10002 | 25.1918 | 25.0001 | 999.9 | 0 | 0 | 9989.38 | 0 | 0.22731 | 0 | 0 | 0 | 0 | 6.32 | 0 | -21.41 | -2.07 | 34.75 | 40.062 | 37.5 | 39.312 | 35.937 | 0 | 0 | 0 | 1673542226 | 0 | 1673541313.1 | 17:35:13 | 1673541310.6 | 1673541308.6 | 13 | 0.002 | 0 | -0.821 | 0.044 | 7 | 10 | 0.22 | 0.16 | 2000.0151 | -0.044739 | 0.067141 | 1 | 9.9655 | -0.015698 | 0.0030946 | 1 | 2 | 2 | 2/2 | 3.1791 | 2.6831 | 0.26059 | 0.26682 | 0.056688 | 0.059333 | 24004.3 | 18543.5 | 31911.4 | 23274 | 40454.1 | 26854.5 | 47492.4 | 31520.4 | 2.1965 | 2.2876 | 0.035711 | 0 | 100 | 100 | 3.43 | 0.0437 | -0.8475 | 0.0033169 | -2.9208e-06 | 1.168e-09 | -0.012109 | 0.010542 | -0.00069852 | 2.0486e-05 | 5 | 2041 | 1 | 19 | 15.2 | 15.3 | 4.8193 | 2.6074 | 2.2473 | 2.605 | 2.1985 | 2.3474 | 37.2659 | 24.2539 | 18 | 625.039 | 823.992 | 23.5219 | 27.2851 | 30 | 27.2672 | 27.2653 | 96.3841 | 40.1741 | 0 | 23.5166 | 2000 | 10 | 101.609 | 101.717

## Remarks
File opened | 2023-01-12 15:31:59
Console s/n | 68C-022410
Console ver | Bluestem v.2.0.02
Scripts ver | 2021.06 2.0.01, June 2021
Head s/n | 68H-422400
Head ver | 1.4.7
Head cal | {"oxygen": "0", "co2azero": "0.978881", "co2aspan1": "1.00241", "co2aspan2": "-0.0353394", "co2aspan2a": "0.286102", "co2aspan2b": "0.2839", "co2aspanconc1": "2470", "co2aspanconc2": "293.8", "co2bzero": "0.91718", "co2bspan1": "1.00234", "co2bspan2": "-0.0349974", "co2bspan2a": "0.292534", "co2bspan2b": "0.290224", "co2bspanconc1": "2470", "co2bspanconc2": "293.8", "h2oazero": "1.10633", "h2oaspan1": "1.00064", "h2oaspan2": "0", "h2oaspan2a": "0.0661794", "h2oaspan2b": "0.066222", "h2oaspanconc1": "12.55", "h2oaspanconc2": "0", "h2obzero": "1.1035", "h2obspan1": "1.00137", "h2obspan2": "0", "h2obspan2a": "0.068989", "h2obspan2b": "0.0690837", "h2obspanconc1": "12.55", "h2obspanconc2": "0", "tazero": "0.0513821", "tbzero": "0.0164795", "flowmeterzero": "1.00344", "flowazero": "0.325", "flowbzero": "0.272", "chamberpressurezero": "2.53369", "ssa_ref": "39073.2", "ssb_ref": "26934.7"}
Chamber type | 6800-01A
Chamber s/n | MPF-282085
Chamber rev | 0
Chamber cal | 0
Fluorometer | MPF-282085
Flr. Version | 1.4.7
15:31:59 | Stability Definition: H2O_r (Meas): Slp<0.05 Per=40 CO2_r (Meas): Slp<0.1 Per=20