## Measurements
SysConst | AvgTime | Oxygen
| 4 | 1
ChambConst | Chamber | Aperture | blc_a | blc_b | blc_c | blc_d | blc_e | blc_minS | blc_maxS | blc_Po
| 6800-01A | 6 cm² | 0.578 | 0.52297 | 0.0037403 | -0.06198 | -0.0056086 | 1 | 6 | 96.9
Const | CustomBLC
2
LTConst | deltaTw | fT1 | fT2 | fTeb
| 0 | 1 | 0 | 0
LQConst | Leaf | Ambient | abs_ambient | abs_redLED | abs_greenLED | abs_blueLED | abs_whiteLED | abs_redFlr | abs_blueFlr | k_ambient | k_redLED | k_greenLED | k_blueLED | k_whiteLED | k_redFlr | k_blueFlr
| standard | Sun+Sky | 0.8 | 0.84 | 0.7 | 0.87 | 0.75 | 0.84 | 0.87 | 0.1911 | 0.1512 | 0.161 | 0.2262 | 0.1575 | 0.1596 | 0.2175
QConst | fQ_Amb_in | fQ_Amb_out | fQ_HeadLS | fQ_ConsoleLS | fQ_Flr
| 0 | 0 | 0 | 0 | 1
LeakConst | fan_a | fan_b | fan_c | fan_d | Fs_meas | Fs_true | leak_wt
| -6276 | 6.6 | 1.709e-05 | 3.11 | 5.38644 96.2241 382.968 626.041 875.319 1084.97 1274.6 1417.21 | 0.018363 114.291 400.619 601.451 800.51 1002.05 1204.33 1401.48 | 0
SysObs | SysObs | SysObs | SysObs | SysObs | SysObs | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | Dynamic | Dynamic | Dynamic | Dynamic | Dynamic | Dynamic | Dynamic | Dynamic | Dynamic | Dynamic | Leak | Leak | Leak | Leak | Leak | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | LeafQ | LeafQ | LeafQ | LeafQ | Const | Const | Const | Const | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrStats | FlrStats | FlrStats | FlrStats | FlrStats | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | Stability | Stability | Stability | Stability | Stability | Stability | Stability | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | ConStatus | ConStatus | ConStatus | ConStatus | ConStatus | ConStatus | ConStatus | ConStatus | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status
obs | time | elapsed | date | hhmmss | averaging | TIME | E | Emm | A | Ca | Ci | Pci | Pca | gsw | gbw | gtw | gtc | Rabs | TleafEB | TleafCnd | SVPleaf | RHcham | VPcham | SVPcham | VPDleaf | LatHFlux | SenHFlux | NetTherm | EBSum | Asty | Esty | Adyn | Crd | Csd | dCsd/dt | αVc | Edyn | Hr | Hs | dHs/dt | αVh | Leak | LeakPct | CorrFact | CorrFactPct | Fan | DarkAdaptedID | Qmax_d | Fo | Fm | Fv/Fm | A_dark | LightAdaptedID | Qmax | Fs | Fm' | PhiPS2 | PS2/1 | Qabs_fs | A_fs | ETR | PhiCO2 | NPQ | alt. Fo' | DarkPulseID | Fmin | Fo' | Fv'/Fm' | qP | qN | qP_Fo | qN_Fo | qL | 1-qL | ID | P1_dur | P2_dur | P3_dur | P1_Qmax | P1_Fmax | P2_dQdt | P3_ΔF | Qin | Qabs | alpha | convert | S | K | Geometry | UseDynamic | TIME | CO2_s | CO2_r | H2O_s | H2O_r | CO2_a | H2O_a | Flow | Pa | ΔPcham | Tair | Tleaf | Tleaf2 | Offset | Offset2 | Fan_speed | Qamb_in | Qamb_out | Q | f_red | f_blue | f_farred | F | Q_modavg | F_dc | Pc | Tled | TDigital | TPreamp | TPwrSpy | TDrive | Q_red | Q_blue | Q_farred | TSPF | state | F_avg | dF/dt | dF_dc/dt | F_dc_avg | period | time | hhmmss | co2_t | h2o_t | count | co2_adj | h2o_adj | co2_match | h2o_match | co2_at | h2o_at | co2_cv | h2o_cv | ΔCO2:MN | ΔCO2:SLP | ΔCO2:SD | ΔCO2:OK | Stable | Total | State | MatchValveR | MatchValveS | MatchCO2 | MatchH2O | cf_co2_a | cf_co2_b | cf_co2_c | cf_co2_d | cf_h2o_a | cf_h2o_b | cf_h2o_c | cf_h2o_d | co2_fit_low | co2_fit_high | h2o_fit_low | h2o_fit_high | co2_elapsed | h2o_elapsed | CO2_f | CO2_f_s | Pump_f | Pump_f_s | Pump_p | Pump_p_s | Tboard | V_system | DIAG | Flow_s | Flow_r | Txchg | Tirga | Tchopper | Ts | Tr | CO2_% | Desiccant_% | Humidifier_% | Txchg_sp | CO2_r_sp | H2O_r_sp | SS_s | SS_r
| s | s |  |  | s | s | mol m⁻² s⁻¹ | mmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol mol⁻¹ | µmol mol⁻¹ | Pa | Pa | mol m⁻² s⁻¹ | mol m⁻² s⁻¹ | mol m⁻² s⁻¹ | mol m⁻² s⁻¹ | W m⁻² | °C | °C | kPa | % | kPa | kPa | kPa | W m⁻² | W m⁻² | W m⁻² | W m⁻² | µmol m⁻² s⁻¹ | mmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol mol⁻¹ | µmol mol⁻¹ | µmol mol⁻¹ s⁻¹ | cm³ | mmol m⁻² s⁻¹ | mmol mol⁻¹ | mmol mol⁻¹ | mmol mol⁻¹ s⁻¹ | cm³ | µmol s⁻¹ | % |  | % | µmol s⁻¹ | [5 empty] | µmol m⁻² s⁻¹ | [6 empty] | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol µmol⁻¹ | [13 empty] | ms | ms | ms | µmol m⁻² s⁻¹ |  | mol m⁻² s⁻² |  | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ |  | J/µmol | cm² |  |  |  | s | µmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | mmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | µmol s⁻¹ | kPa | kPa | °C | °C | °C | °C | °C | rpm | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ |  |  |  |  | µmol m⁻² s⁻¹ |  |  | °C | °C | °C | °C | °C | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | s |  |  | min⁻¹ | min⁻¹ |  | s | secs |  | s | s |  | µmol/mol | mmol/mol | µmol/mol | mmol/mol | µmol/mol | mmol/mol | % | % | µmol mol⁻¹ | µmol mol⁻¹ min⁻¹ | µmol mol⁻¹ |  |  |  |  | % | % | µmol/mol | mmol/mol | mmol/mol |  |  |  | mmol/mol |  |  |  | µmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | mmol mol⁻¹ | min | min | V | V | V | V | V | V | °C | V |  | µmol s⁻¹ | µmol s⁻¹ | °C | °C | °C | °C | °C | % | % | % | °C | µmol mol⁻¹ | mmol mol⁻¹ | % | %
1 | 1628343513.5 | 0 | 20210807 15:38:33 | 15:38:33 | 15 | 1628343505.75 | 0.0018362 | 1.8362 | 7.4501 | 500.1032 | 415.9938 | 40.8867 | 49.1535 | 0.1619 | 2.8983 | 0.15704 | 0.098576 | 114.0108 | 25.5986 | 25.0005 | 3.1798 | 63.2931 | 2.0612 | 3.2566 | 1.1186 | -80.9772 | 62.6635 | 4.5825 | 100.2797 | 7.4385 | 1.8382 | 7.4501 | 518.3415 | 510.7796 | -0.0071479 | 67.2226 | 1.8362 | 19.1693 | 20.9665 | -1.3969e-05 | 78.55 | 0 | 0 | 1 | 0 | 52219.2261 | - | 0 | 0 | 0 | #DIV/0! | -1 | MPF-470-20210807-15_38_34 | 9301.66 | 1056.8408 | 1198.57 | 0.11825 | 0.5 | 589.1766 | 7.4501 | 34.8346 | 0.014342 | -1 | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.11825 | #DIV/0! | #DIV/0! | #DIV/0! | 470 | 130 | 130 | 100 | 9301.66 | 1184.37 | -0.019793 | -0.14 | 699.9863 | 589.1766 | 0.8417 | 0.16288 | 6 | 0.5 | 0: Broadleaf | TRUE | 1628343505.75 | 500.1032 | 508.4587 | 20.9714 | 19.1722 | 500.142 | 20.932 | 600.1725 | 98.1867 | 0.099954 | 25.4016 | 25.0005 | 999.9 | 0 | 0 | 10004.5437 | 0 | 64.3847 | 699.9863 | 0.94301 | 0.056989 | 0 | 1056.8407 | 4.9997 | 7198.7237 | 6056.2273 | 35.3957 | 38.333 | 36.625 | 37.687 | 37.625 | 655.379 | 39.603 | 0 | 77545.5 | 0 | 1056.8408 | -2.6015 | -26.7615 | 7198.6288 | 15 | 1628343390.5 | 15:36:30 | 1628343387.5 | 1628343390.5 | 211 | 0.059 | -0.004 | -0.1 | 0.033 | 511 | 19 | 0.08 | 0.05 | -8.3627 | 0.15439 | 0.042901 | 1 | 1 | 1 | 1/1 | 100 | 100 | -0.038 | 0.0394 | -1.9642 | 0.011753 | -2.1974e-05 | 1.2341e-08 | -0.88171 | 0.12288 | -0.0056736 | 9.1035e-05 | 275 | 659 | 19 | 23 | 2.1 | 2 | 1.283 | 2.6367 | 1.5478 | 2.3584 | 1.449 | 2.3169 | 38.3301 | 24.2364 | 18 | 635.877 | 377.282 | 22.867 | 28.507 | 30 | 28.4831 | 28.487 | 25.6797 | 39.9131 | 0 | 22.8682 | 508.366 | 19.2417 | 100.477 | 100.334
2 | 1628343871.5 | 358 | 20210807 15:44:31 | 15:44:31 | 15 | 1628343863.5 | 0.0017222 | 1.7222 | 9.2728 | 399.9125 | 292.9428 | 28.7887 | 39.301 | 0.15128 | 2.8973 | 0.14703 | 0.092263 | 114.0106 | 25.6029 | 24.9968 | 3.1791 | 63.3102 | 2.0586 | 3.2516 | 1.1205 | -75.9486 | 59.2031 | 4.3304 | 101.5955 | 9.3132 | 1.7251 | 9.2728 | 417.9369 | 408.485 | -7.8426e-05 | 67.2244 | 1.7222 | 19.2572 | 20.9429 | -7.6603e-06 | 78.55 | 0 | 0 | 1 | 0 | 52192.3185 | - | 0 | 0 | 0 | #DIV/0! | -1 | MPF-471-20210807-15_44_32 | 9302.04 | 1023.3772 | 1195.41 | 0.14391 | 0.5 | 589.1756 | 9.2728 | 42.3945 | 0.017436 | -1 | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.14391 | #DIV/0! | #DIV/0! | #DIV/0! | 471 | 130 | 130 | 100 | 9302.04 | 1179.39 | -0.019794 | 0.13 | 699.9851 | 589.1756 | 0.8417 | 0.16288 | 6 | 0.5 | 0: Broadleaf | TRUE | 1628343863.5 | 399.9125 | 409.9128 | 20.9477 | 19.2592 | 399.8448 | 20.9083 | 600.168 | 98.1741 | 0.099974 | 25.3758 | 24.9968 | 999.9 | 0 | 0 | 9999.6139 | 0 | 64.3279 | 699.9851 | 0.94301 | 0.056987 | 0 | 1023.4361 | 4.9997 | 6963.9074 | 6056.2197 | 35.0823 | 38 | 36.312 | 37.375 | 37.312 | 655.3819 | 39.6019 | 0 | 357.5 | 0 | 1023.3772 | -0.64769 | -9.3 | 6964.002 | 15 | 1628343629 | 15:40:29 | 1628343626.5 | 1628343629 | 212 | -0.047 | 0.005 | -0.036 | 0.033 | 408 | 19 | 0.24 | 0.06 | -9.9927 | -0.08565 | 0.036447 | 1 | 1 | 1 | 1/1 | 100 | 100 | 0.067 | 0.0394 | -1.9076 | 0.011753 | -2.1974e-05 | 1.2341e-08 | -0.8816 | 0.12288 | -0.0056736 | 9.1035e-05 | 275 | 659 | 19 | 23 | 4.1 | 4 | 1.0779 | 2.6416 | 1.5478 | 2.3584 | 1.449 | 2.4414 | 38.3056 | 24.2364 | 18 | 635.757 | 377.455 | 22.8989 | 28.4948 | 30.0001 | 28.4733 | 28.4749 | 21.571 | 39.2681 | 0 | 22.8989 | 409.984 | 19.3481 | 100.475 | 100.332
3 | 1628344053 | 539.5 | 20210807 15:47:33 | 15:47:33 | 15 | 1628344045 | 0.0016792 | 1.6792 | 9.0643 | 349.9925 | 244.0494 | 23.9838 | 34.3953 | 0.14792 | 2.8982 | 0.14385 | 0.090266 | 114.0138 | 25.6398 | 25.0024 | 3.1801 | 63.3668 | 2.0636 | 3.2566 | 1.1165 | -74.0529 | 62.3526 | 4.56 | 106.8735 | 9.0726 | 1.6753 | 9.0643 | 366.7219 | 357.4807 | 0.00015801 | 67.223 | 1.6792 | 19.3559 | 20.9994 | -4.9906e-06 | 78.55 | 0 | 0 | 1 | 0 | 52215.917 | - | 0 | 0 | 0 | #DIV/0! | -1 | MPF-472-20210807-15_47_33 | 9298.59 | 1016.5438 | 1188.24 | 0.1445 | 0.5 | 589.19 | 9.0643 | 42.5679 | 0.017082 | -1 | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.1445 | #DIV/0! | #DIV/0! | #DIV/0! | 472 | 130 | 130 | 100 | 9298.59 | 1170.81 | -0.019788 | 1.35 | 700.002 | 589.19 | 0.8417 | 0.16288 | 6 | 0.5 | 0: Broadleaf | TRUE | 1628344045 | 349.9925 | 359.6487 | 20.9983 | 19.3587 | 349.9733 | 20.9569 | 600.1724 | 98.1744 | 0.099968 | 25.4015 | 25.0024 | 999.9 | 0 | 0 | 10005.1887 | 0 | 64.3279 | 700.002 | 0.94301 | 0.056992 | 0 | 1016.5829 | 4.9997 | 6941.419 | 6056.3587 | 36.2215 | 40.3687 | 37.7921 | 40.3969 | 38.9836 | 655.3926 | 39.6106 | 0 | 181.2 | 0 | 1016.5438 | -3.5248 | -0.38427 | 6941.3131 | 15 | 1628343981.5 | 15:46:21 | 1628343981.5 | 1628343981.5 | 213 | -0.117 | 0.007 | -0.066 | 0.036 | 360 | 19 | 0.18 | 0.06 | -9.6624 | 0.11494 | 0.025976 | 1 | 1 | 1 | 1/1 | 100 | 100 | 0.019 | 0.0414 | -1.9318 | 0.011753 | -2.1974e-05 | 1.2341e-08 | -0.26594 | 0.035992 | -0.001583 | 2.6982e-05 | 275 | 659 | 19 | 23 | 1.2 | 1.2 | 0.97046 | 2.6367 | 1.5478 | 2.3584 | 1.449 | 2.3926 | 38.3056 | 24.2364 | 18 | 635.655 | 377.671 | 22.8753 | 28.4854 | 30.0002 | 28.4653 | 28.4676 | 19.4143 | 38.8443 | 0 | 22.875 | 359.63 | 19.3842 | 100.477 | 100.331
4 | 1628344234.5 | 721 | 20210807 15:50:34 | 15:50:34 | 15 | 1628344226.75 | 0.0016942 | 1.6942 | 8.9106 | 324.9961 | 222.0935 | 21.825 | 31.9372 | 0.14932 | 2.8961 | 0.14517 | 0.091096 | 114.015 | 25.6869 | 25.0009 | 3.1798 | 63.1754 | 2.0636 | 3.2665 | 1.1163 | -74.7154 | 70.4941 | 5.1605 | 114.9542 | 8.8886 | 1.6934 | 8.9106 | 341.047 | 331.9635 | -5.4326e-05 | 67.2239 | 1.6942 | 19.3396 | 20.9978 | 3.0963e-06 | 78.55 | 0 | 0 | 1 | 0 | 52145.5621 | - | 0 | 0 | 0 | #DIV/0! | -1 | MPF-473-20210807-15_50_35 | 9299.38 | 1011.1884 | 1178.77 | 0.14217 | 0.5 | 589.1949 | 8.9106 | 41.8819 | 0.016821 | -1 | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.14217 | #DIV/0! | #DIV/0! | #DIV/0! | 473 | 130 | 130 | 100 | 9299.38 | 1162.73 | -0.019787 | 1.26 | 700.0076 | 589.1949 | 0.8417 | 0.16288 | 6 | 0.5 | 0: Broadleaf | TRUE | 1628344226.75 | 324.9961 | 334.4323 | 20.9993 | 19.342 | 325.0593 | 20.9584 | 600.1744 | 98.1695 | 0.10009 | 25.4524 | 25.0009 | 999.9 | 0 | 0 | 9993.434 | 0 | 64.2711 | 700.0076 | 0.943 | 0.057004 | 0 | 1011.167 | 4.9997 | 6911.27 | 6056.3853 | 36.656 | 39.6789 | 37.9769 | 39.1205 | 38.8267 | 655.389 | 39.6167 | 0 | 180.8 | 0 | 1011.1884 | 0.19385 | -5.1762 | 6910.972 | 15 | 1628344131.5 | 15:48:51 | 1628344125.5 | 1628344131.5 | 214 | -0.149 | 0.004 | -0.137 | 0.035 | 335 | 19 | 0.09 | 0.07 | -9.4395 | 0.021806 | 0.024882 | 1 | 1 | 1 | 1/1 | 100 | 100 | -0.063 | 0.0409 | -0.55075 | 0.00061967 | 6.6573e-06 | -1.2152e-08 | -0.26643 | 0.035992 | -0.001583 | 2.6982e-05 | 142 | 527 | 19 | 23 | 1.8 | 1.7 | 0.91675 | 2.6477 | 1.5478 | 2.3572 | 1.449 | 2.4207 | 38.3056 | 24.2364 | 18 | 635.612 | 377.558 | 22.7002 | 28.4851 | 30.0001 | 28.4612 | 28.4627 | 18.3158 | 38.5847 | 0 | 22.7006 | 334.429 | 19.3862 | 100.474 | 100.33
5 | 1628344416 | 902.5 | 20210807 15:53:36 | 15:53:36 | 15 | 1628344408.25 | 0.0017304 | 1.7304 | 8.6606 | 299.9912 | 202.4054 | 19.889 | 29.4781 | 0.15286 | 2.8968 | 0.14852 | 0.093202 | 114.014 | 25.644 | 24.9947 | 3.1787 | 63.3231 | 2.0643 | 3.26 | 1.1144 | -76.3113 | 66.2587 | 4.8484 | 108.8099 | 8.6464 | 1.729 | 8.6606 | 315.2598 | 306.4311 | 1.9093e-05 | 67.2244 | 1.7304 | 19.3121 | 21.0058 | -1.4574e-05 | 78.55 | 0 | 0 | 1 | 0 | 52170.308 | - | 0 | 0 | 0 | #DIV/0! | -1 | MPF-474-20210807-15_53_36 | 9300.33 | 1011.0242 | 1170.64 | 0.13635 | 0.5 | 589.1892 | 8.6606 | 40.1677 | 0.016396 | -1 | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.13635 | #DIV/0! | #DIV/0! | #DIV/0! | 474 | 130 | 130 | 100 | 9300.33 | 1159.43 | -0.01979 | 0.85 | 700.0008 | 589.1892 | 0.8417 | 0.16288 | 6 | 0.5 | 0: Broadleaf | TRUE | 1628344408.25 | 299.9912 | 309.1537 | 21.0081 | 19.3159 | 300.104 | 20.9657 | 600.1729 | 98.1633 | 0.099989 | 25.419 | 24.9947 | 999.9 | 0 | 0 | 9997.8673 | 0 | 64.2673 | 700.0008 | 0.94299 | 0.057006 | 0 | 1011.022 | 4.9997 | 6896.705 | 6056.3223 | 36.0207 | 38.9039 | 37.2748 | 38.187 | 38.187 | 655.3817 | 39.618 | 0 | 181.2 | 0 | 1011.0242 | 0.54598 | -0.06735 | 6896.675 | 15 | 1628344310 | 15:51:50 | 1628344307 | 1628344310 | 215 | -0.082 | 0.004 | -0.164 | 0.037 | 309 | 19 | 0.15 | 0.05 | -9.1521 | -0.097552 | 0.036435 | 1 | 1 | 1 | 1/1 | 100 | 100 | -0.113 | 0.0423 | -0.56969 | 0.00061967 | 6.6573e-06 | -1.2152e-08 | -0.26508 | 0.035992 | -0.001583 | 2.6982e-05 | 142 | 527 | 19 | 23 | 1.8 | 1.8 | 0.8606 | 2.6428 | 1.5478 | 2.3584 | 1.449 | 2.4377 | 38.3056 | 24.2364 | 18 | 635.594 | 377.558 | 22.7761 | 28.4875 | 30.0002 | 28.4612 | 28.4627 | 17.2014 | 38.4412 | 0 | 22.7769 | 309.112 | 19.3536 | 100.479 | 100.333
6 | 1628344598.5 | 1085 | 20210807 15:56:38 | 15:56:38 | 15 | 1628344590.75 | 0.0017648 | 1.7648 | 8.2805 | 275.0094 | 183.7371 | 18.0536 | 27.0219 | 0.15615 | 2.8966 | 0.15162 | 0.095158 | 114.0114 | 25.6122 | 24.9982 | 3.1793 | 63.4651 | 2.0662 | 3.2556 | 1.1132 | -77.828 | 62.1753 | 4.5494 | 102.9082 | 8.2642 | 1.7596 | 8.2805 | 289.3322 | 280.8928 | -0.00039707 | 67.2338 | 1.7648 | 19.3043 | 21.0315 | 2.2241e-06 | 78.55 | 0 | 0 | 1 | 0 | 52168.4218 | - | 0 | 0 | 0 | #DIV/0! | -1 | MPF-475-20210807-15_56_39 | 9300.99 | 1011.0776 | 1164.98 | 0.13211 | 0.5 | 589.1788 | 8.2805 | 38.9174 | 0.015752 | -1 | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.13211 | #DIV/0! | #DIV/0! | #DIV/0! | 475 | 130 | 130 | 100 | 9300.99 | 1153.1 | -0.019791 | -0.21 | 699.9888 | 589.1788 | 0.8417 | 0.16288 | 6 | 0.5 | 0: Broadleaf | TRUE | 1628344590.75 | 275.0094 | 283.7551 | 21.0279 | 19.3058 | 275.1594 | 20.9842 | 600.1712 | 98.1579 | 0.10002 | 25.3963 | 24.9982 | 999.9 | 0 | 0 | 9997.271 | 0 | 64.2142 | 699.9888 | 0.94301 | 0.056991 | 0 | 1011.0743 | 4.9997 | 6888.4087 | 6056.2457 | 35.625 | 38.562 | 36.8666 | 37.8204 | 37.812 | 655.3807 | 39.6063 | 0 | 182 | 0 | 1011.0776 | -0.27615 | -2.2662 | 6888.4324 | 15 | 1628344517.5 | 15:55:17 | 1628344516 | 1628344517.5 | 216 | -0.041 | 0.006 | -0.176 | 0.038 | 284 | 19 | 0.2 | 0.03 | -8.753 | 0.19979 | 0.034529 | 1 | 1 | 1 | 1/1 | 100 | 100 | -0.15 | 0.0438 | -0.57141 | 0.00061967 | 6.6573e-06 | -1.2152e-08 | -0.26374 | 0.035992 | -0.001583 | 2.6982e-05 | 142 | 527 | 19 | 23 | 1.4 | 1.4 | 0.80444 | 2.6489 | 1.5478 | 2.3584 | 1.449 | 2.4316 | 38.3301 | 24.2364 | 18 | 635.707 | 377.727 | 22.7977 | 28.4991 | 30 | 28.4685 | 28.47 | 16.0797 | 38.1986 | 0 | 22.7971 | 283.726 | 19.3112 | 100.474 | 100.331
7 | 1628344780 | 1266.5 | 20210807 15:59:40 | 15:59:40 | 15 | 1628344772 | 0.0018147 | 1.8147 | 7.7971 | 249.9984 | 166.5616 | 16.3649 | 24.5627 | 0.1609 | 2.8967 | 0.15609 | 0.097979 | 114.0156 | 25.5868 | 24.99 | 3.1778 | 63.5082 | 2.0661 | 3.2532 | 1.1117 | -80.0266 | 61.5306 | 4.5016 | 100.0212 | 7.7844 | 1.8123 | 7.7971 | 263.3304 | 255.3816 | 0.00021278 | 67.2364 | 1.8147 | 19.2532 | 21.0291 | 1.5837e-05 | 78.55 | 0 | 0 | 1 | 0 | 52175.0176 | - | 0 | 0 | 0 | #DIV/0! | -1 | MPF-476-20210807-15_59_40 | 9301.34 | 1011.965 | 1163 | 0.12987 | 0.5 | 589.2011 | 7.7971 | 38.2588 | 0.014931 | -1 | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.12987 | #DIV/0! | #DIV/0! | #DIV/0! | 476 | 130 | 130 | 100 | 9301.34 | 1146.56 | -0.019792 | 1.51 | 700.0155 | 589.2011 | 0.8417 | 0.16288 | 6 | 0.5 | 0: Broadleaf | TRUE | 1628344772 | 249.9984 | 258.2335 | 21.0282 | 19.2545 | 250.2163 | 20.9825 | 600.1736 | 98.1516 | 0.1 | 25.384 | 24.99 | 999.9 | 0 | 0 | 9998.8345 | 0 | 64.2142 | 700.0155 | 0.94301 | 0.056987 | 0 | 1011.9674 | 4.9997 | 6888.7897 | 6056.4835 | 35.375 | 38.308 | 36.6169 | 37.625 | 37.562 | 655.4081 | 39.6052 | 0 | 181.2 | 0 | 1011.965 | 0.26769 | -2.8075 | 6888.4715 | 15 | 1628344658.5 | 15:57:38 | 1628344650 | 1628344658.5 | 217 | -0.041 | 0.007 | -0.216 | 0.039 | 259 | 19 | 0.27 | 0.07 | -8.2339 | -0.11467 | 0.020005 | 1 | 1 | 1 | 1/1 | 100 | 100 | -0.218 | 0.0457 | -0.59936 | 0.00061967 | 6.6573e-06 | -1.2152e-08 | -0.26182 | 0.035992 | -0.001583 | 2.6982e-05 | 142 | 527 | 19 | 23 | 2.2 | 2 | 0.74707 | 2.6562 | 1.5478 | 2.3584 | 1.449 | 2.3608 | 38.3301 | 24.2364 | 18 | 635.702 | 377.441 | 22.8549 | 28.5013 | 30 | 28.4733 | 28.4749 | 14.9336 | 38.2385 | 0 | 22.8593 | 258.226 | 19.2619 | 100.474 | 100.331
8 | 1628344961.5 | 1448 | 20210807 16:02:41 | 16:02:41 | 15 | 1628344953.75 | 0.0018575 | 1.8575 | 7.2267 | 224.9991 | 149.382 | 14.677 | 22.1064 | 0.16459 | 2.8962 | 0.15957 | 0.10017 | 114.0153 | 25.5717 | 24.9998 | 3.1796 | 63.535 | 2.0664 | 3.2525 | 1.1132 | -81.9152 | 59.3882 | 4.3457 | 95.834 | 7.2077 | 1.8563 | 7.2267 | 237.1813 | 229.8163 | -0.0002457 | 67.2364 | 1.8575 | 19.2142 | 21.032 | 3.2551e-06 | 78.55 | 0 | 0 | 1 | 0 | 52162.1196 | - | 0 | 0 | 0 | #DIV/0! | -1 | MPF-477-20210807-16_02_42 | 9301.57 | 1013.8276 | 1154.22 | 0.12163 | 0.5 | 589.1999 | 7.2267 | 35.8334 | 0.013963 | -1 | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.12163 | #DIV/0! | #DIV/0! | #DIV/0! | 477 | 130 | 130 | 100 | 9301.57 | 1140.96 | -0.019793 | 0.8 | 700.014 | 589.1999 | 0.8417 | 0.16288 | 6 | 0.5 | 0: Broadleaf | TRUE | 1628344953.75 | 224.9991 | 232.6223 | 21.0323 | 19.2156 | 225.3172 | 20.9888 | 600.1777 | 98.1511 | 0.10006 | 25.3801 | 24.9998 | 999.9 | 0 | 0 | 9996.1663 | 0 | 64.1659 | 700.014 | 0.94301 | 0.056986 | 0 | 1013.8517 | 4.9997 | 6896.5393 | 6056.4727 | 35.187 | 38.125 | 36.4205 | 37.4832 | 37.437 | 655.4077 | 39.604 | 0 | 180.8 | 0 | 1013.8276 | -0.26462 | -2.5823 | 6896.4844 | 15 | 1628344835.5 | 16:00:35 | 1628344835.5 | 1628344835 | 218 | -0.042 | 0.003 | -0.288 | 0.037 | 233 | 19 | 0.24 | 0.07 | -7.6216 | -0.050892 | 0.019881 | 1 | 1 | 1 | 1/1 | 100 | 100 | -0.318 | 0.0435 | -0.65673 | 0.00061967 | 6.6573e-06 | -1.2152e-08 | -0.26402 | 0.035992 | -0.001583 | 2.6982e-05 | 142 | 527 | 19 | 23 | 2.1 | 2.1 | 0.6897 | 2.6526 | 1.5478 | 2.3584 | 1.449 | 2.3865 | 38.3301 | 24.2364 | 18 | 635.873 | 377.479 | 22.8793 | 28.4924 | 30.0001 | 28.4685 | 28.47 | 13.7787 | 38.3169 | 0 | 22.88 | 232.656 | 19.1647 | 100.474 | 100.335
9 | 1628345143 | 1629.5 | 20210807 16:05:43 | 16:05:43 | 15 | 1628345135 | 0.0019222 | 1.9222 | 6.6544 | 199.9833 | 132.5161 | 13.0191 | 19.6475 | 0.17 | 2.8965 | 0.16464 | 0.10337 | 114.0112 | 25.55 | 24.9943 | 3.1786 | 63.4198 | 2.0621 | 3.2516 | 1.1165 | -84.7711 | 59.5318 | 4.3556 | 93.1275 | 6.6236 | 1.9192 | 6.6544 | 211.0555 | 204.2734 | 7.2174e-06 | 67.2359 | 1.9222 | 19.1096 | 20.9908 | 3.1848e-05 | 78.55 | 0 | 0 | 1 | 0 | 52168.7713 | - | 0 | 0 | 0 | #DIV/0! | -1 | MPF-478-20210807-16_05_43 | 9301.74 | 1016.9477 | 1147.2 | 0.11354 | 0.5 | 589.1783 | 6.6544 | 33.4475 | 0.012992 | -1 | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.11354 | #DIV/0! | #DIV/0! | #DIV/0! | 478 | 130 | 130 | 100 | 9301.74 | 1137.06 | -0.019793 | 0.61 | 699.9884 | 589.1783 | 0.8417 | 0.16288 | 6 | 0.5 | 0: Broadleaf | TRUE | 1628345135 | 199.9833 | 206.9886 | 20.9896 | 19.1112 | 200.3996 | 20.9466 | 600.1726 | 98.1456 | 0.099997 | 25.3755 | 24.9943 | 999.9 | 0 | 0 | 9997.9229 | 0 | 64.1574 | 699.9884 | 0.94301 | 0.056988 | 0 | 1016.9603 | 4.9997 | 6914.6297 | 6056.2465 | 35.0742 | 38 | 36.3 | 37.3648 | 37.312 | 655.3826 | 39.6032 | 0 | 181.2 | 0 | 1016.9477 | -0.091624 | -3.7371 | 6914.7312 | 15 | 1628345017.5 | 16:03:37 | 1628345012.5 | 1628345017.5 | 219 | 0.033 | 0.004 | -0.337 | 0.036 | 208 | 19 | 0.22 | 0.05 | -6.9984 | -0.18302 | 0.022437 | 1 | 1 | 1 | 1/1 | 100 | 100 | -0.417 | 0.043 | -0.42746 | -0.0026891 | 1.8944e-05 | -2.6181e-08 | -0.94964 | 0.13317 | -0.0061659 | 9.8863e-05 | 11 | 397 | 18 | 23 | 2.2 | 2.1 | 0.6311 | 2.6514 | 1.5478 | 2.3584 | 1.449 | 2.3377 | 38.3301 | 24.2364 | 18 | 635.803 | 377.368 | 22.9084 | 28.4875 | 30.0002 | 28.4637 | 28.4676 | 12.6026 | 38.624 | 0 | 22.9093 | 207.028 | 19.1244 | 100.477 | 100.335
10 | 1628345324.5 | 1811 | 20210807 16:08:44 | 16:08:44 | 15 | 1628345316.5 | 0.0019599 | 1.9599 | 5.8925 | 175.0018 | 116.5525 | 11.4505 | 17.1927 | 0.17394 | 2.8965 | 0.16834 | 0.1057 | 114.0158 | 25.595 | 25.0053 | 3.1807 | 63.3759 | 2.0675 | 3.2622 | 1.1132 | -86.4319 | 66.3865 | 4.8587 | 98.8292 | 5.8931 | 1.9482 | 5.8925 | 184.7601 | 178.7551 | -0.00014369 | 67.2364 | 1.9599 | 19.1383 | 21.0553 | 0.00019188 | 78.55 | 0 | 0 | 1 | 0 | 52160.5632 | - | 0 | 0 | 0 | #DIV/0! | -1 | MPF-479-20210807-16_08_45 | 9297.53 | 1017.004 | 1135.36 | 0.10425 | 0.5 | 589.2008 | 5.8925 | 30.7107 | 0.011698 | -1 | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.10425 | #DIV/0! | #DIV/0! | #DIV/0! | 479 | 130 | 130 | 100 | 9297.53 | 1125.12 | -0.019785 | 1.55 | 700.0149 | 589.2008 | 0.8417 | 0.16288 | 6 | 0.5 | 0: Broadleaf | TRUE | 1628345316.5 | 175.0018 | 181.2341 | 21.0442 | 19.1376 | 175.449 | 20.9998 | 600.1768 | 98.1432 | 0.10003 | 25.4305 | 25.0053 | 999.9 | 0 | 0 | 9998.4613 | 0 | 64.1574 | 700.0149 | 0.94301 | 0.056986 | 0 | 1017.0568 | 4.9997 | 6947.3255 | 6056.48 | 36.6046 | 40.9172 | 38.2095 | 41.161 | 39.3888 | 655.4087 | 39.61 | 0 | 180.8 | 0 | 1017.004 | -2.5423 | -2.2838 | 6947.0328 | 15 | 1628345204 | 16:06:44 | 1628345196 | 1628345204 | 220 | 0.1 | 0.006 | -0.346 | 0.038 | 182 | 19 | 0.15 | 0.03 | -6.239 | 0.032342 | 0.027352 | 1 | 1 | 1 | 1/1 | 100 | 100 | -0.447 | 0.0445 | -0.4172 | -0.0026891 | 1.8944e-05 | -2.6181e-08 | -0.26319 | 0.035992 | -0.001583 | 2.6982e-05 | 11 | 397 | 19 | 23 | 2.1 | 2 | 0.57129 | 2.6648 | 1.5478 | 2.3584 | 1.449 | 2.2742 | 38.3301 | 24.2276 | 18 | 635.867 | 377.299 | 22.8292 | 28.49 | 30.0002 | 28.4644 | 28.4676 | 11.4136 | 38.2742 | 0 | 22.8303 | 181.242 | 19.0896 | 100.471 | 100.329
11 | 1628345506 | 1992.5 | 20210807 16:11:46 | 16:11:46 | 15 | 1628345498.25 | 0.0020429 | 2.0429 | 5.153 | 150.0147 | 100.966 | 9.9195 | 14.7384 | 0.18171 | 2.8968 | 0.17561 | 0.11028 | 114.013 | 25.6057 | 24.9976 | 3.1792 | 63.2333 | 2.0668 | 3.2685 | 1.1124 | -90.0915 | 72.693 | 5.3203 | 101.9347 | 5.1634 | 2.038 | 5.153 | 158.4659 | 153.2163 | -0.00042362 | 67.2361 | 2.0429 | 19.0413 | 21.0405 | 2.1644e-05 | 78.55 | 0 | 0 | 1 | 0 | 52164.6372 | - | 0 | 0 | 0 | #DIV/0! | -1 | MPF-480-20210807-16_11_46 | 9299.23 | 1021.5852 | 1129.82 | 0.095798 | 0.5 | 589.1848 | 5.153 | 28.2214 | 0.010443 | -1 | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.095798 | #DIV/0! | #DIV/0! | #DIV/0! | 480 | 130 | 130 | 100 | 9299.23 | 1120.34 | -0.019787 | 0.56 | 699.9957 | 589.1848 | 0.8417 | 0.16288 | 6 | 0.5 | 0: Broadleaf | TRUE | 1628345498.25 | 150.0147 | 155.4822 | 21.0369 | 19.0424 | 150.5384 | 20.9937 | 600.1729 | 98.1461 | 0.1 | 25.463 | 24.9976 | 999.9 | 0 | 0 | 10000.1023 | 0 | 64.1225 | 699.9957 | 0.943 | 0.057003 | 0 | 1021.5827 | 4.9997 | 6973.783 | 6056.2833 | 36.5331 | 39.4957 | 37.8309 | 38.8622 | 38.6912 | 655.3783 | 39.615 | 0 | 181 | 0 | 1021.5852 | 0.49538 | -3.5085 | 6973.7488 | 15 | 1628345422 | 16:10:22 | 1628345414 | 1628345422 | 221 | 0.064 | 0.005 | -0.411 | 0.036 | 156 | 19 | 0.21 | 0.04 | -5.4645 | 0.059391 | 0.023956 | 1 | 1 | 1 | 1/1 | 100 | 100 | -0.524 | 0.0432 | -0.45889 | -0.0026891 | 1.8944e-05 | -2.6181e-08 | -0.26436 | 0.035992 | -0.001583 | 2.6982e-05 | 11 | 397 | 19 | 23 | 1.5 | 1.4 | 0.51148 | 2.6672 | 1.5478 | 2.3572 | 1.449 | 2.3718 | 38.3301 | 24.2364 | 18 | 635.81 | 377.065 | 22.7442 | 28.4948 | 30.0001 | 28.4661 | 28.4676 | 10.2092 | 38.4384 | 0 | 22.744 | 155.476 | 19.0354 | 100.476 | 100.334
12 | 1628345687.5 | 2174 | 20210807 16:14:47 | 16:14:47 | 15 | 1628345679.75 | 0.0021244 | 2.1244 | 4.7286 | 136.9994 | 93.6455 | 9.1997 | 13.4587 | 0.18924 | 2.8969 | 0.18263 | 0.11472 | 114.0135 | 25.5546 | 24.9875 | 3.1773 | 63.2919 | 2.0651 | 3.2628 | 1.1123 | -93.6875 | 69.6204 | 5.0942 | 95.0406 | 4.7266 | 2.1229 | 4.7286 | 144.7661 | 139.9466 | 0.00022693 | 67.235 | 2.1244 | 18.9419 | 21.0211 | -1.0386e-06 | 78.55 | 0 | 0 | 1 | 0 | 52172.0484 | - | 0 | 0 | 0 | #DIV/0! | -1 | MPF-481-20210807-16_14_48 | 9300.19 | 1027.515 | 1130.14 | 0.090807 | 0.5 | 589.1889 | 4.7286 | 26.7513 | 0.0097228 | -1 | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.090807 | #DIV/0! | #DIV/0! | #DIV/0! | 481 | 130 | 130 | 100 | 9300.19 | 1121.06 | -0.019789 | 1.09 | 700.0008 | 589.1889 | 0.8417 | 0.16288 | 6 | 0.5 | 0: Broadleaf | TRUE | 1628345679.75 | 136.9994 | 142.0154 | 21.0207 | 18.943 | 137.5429 | 20.9799 | 600.1734 | 98.1395 | 0.099982 | 25.4333 | 24.9875 | 999.9 | 0 | 0 | 10001.2457 | 0 | 64.1006 | 700.0008 | 0.94301 | 0.056994 | 0 | 1027.5107 | 4.9997 | 7001.2833 | 6056.343 | 35.9643 | 38.8393 | 37.2101 | 38.125 | 38.125 | 655.3897 | 39.61 | 0 | 181.2 | 0 | 1027.515 | 0.73607 | 3.1576 | 7001.3446 | 15 | 1628345564.5 | 16:12:44 | 1628345563 | 1628345564.5 | 222 | 0.104 | 0.002 | -0.429 | 0.034 | 143 | 19 | 0.3 | 0.05 | -5.0185 | 0.02428 | 0.018628 | 1 | 1 | 1 | 1/1 | 100 | 100 | -0.544 | 0.0408 | -0.4639 | -0.0026891 | 1.8944e-05 | -2.6181e-08 | -0.2667 | 0.035992 | -0.001583 | 2.6982e-05 | 11 | 397 | 19 | 23 | 2.1 | 2 | 0.47974 | 2.6538 | 1.5478 | 2.3584 | 1.449 | 2.4085 | 38.3056 | 24.2364 | 18 | 635.932 | 377.229 | 22.806 | 28.49 | 30.0001 | 28.4637 | 28.4652 | 9.5809 | 38.5953 | 0 | 22.8077 | 141.998 | 18.9709 | 100.475 | 100.334
13 | 1628345869 | 2355.5 | 20210807 16:17:49 | 16:17:49 | 15 | 1628345861.25 | 0.0022214 | 2.2214 | 4.3692 | 124.9969 | 86.4942 | 8.4971 | 12.2795 | 0.19751 | 2.898 | 0.19033 | 0.11958 | 114.0143 | 25.5187 | 24.9974 | 3.1792 | 63.2729 | 2.0632 | 3.2608 | 1.116 | -97.9643 | 66.4969 | 4.8638 | 87.4108 | 4.4047 | 2.2196 | 4.3692 | 132.1587 | 127.7067 | 7.2749e-05 | 67.2358 | 2.2214 | 18.8281 | 21.0023 | -1.476e-05 | 78.55 | 0 | 0 | 1 | 0 | 52205.2016 | - | 0 | 0 | 0 | #DIV/0! | -1 | MPF-482-20210807-16_17_49 | 9300.86 | 1033.0038 | 1132.81 | 0.088105 | 0.5 | 589.1946 | 4.3692 | 25.9555 | 0.0091127 | -1 | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.088105 | #DIV/0! | #DIV/0! | #DIV/0! | 482 | 130 | 130 | 100 | 9300.86 | 1120.7 | -0.019791 | 1.16 | 700.0077 | 589.1946 | 0.8417 | 0.16288 | 6 | 0.5 | 0: Broadleaf | TRUE | 1628345861.25 | 124.9969 | 129.6777 | 21.0017 | 18.8293 | 125.6205 | 20.9588 | 600.1684 | 98.1385 | 0.099907 | 25.423 | 24.9974 | 999.9 | 0 | 0 | 10007.619 | 0 | 64.1006 | 700.0077 | 0.94301 | 0.056986 | 0 | 1033.0273 | 4.9997 | 7029.7493 | 6056.4167 | 35.5914 | 38.5 | 36.812 | 37.812 | 37.7996 | 655.4007 | 39.6033 | 0 | 180.8 | 0 | 1033.0038 | 0.80821 | 4.5764 | 7029.6731 | 15 | 1628345755 | 16:15:55 | 1628345741.5 | 1628345755 | 223 | 0.041 | 0.007 | -0.51 | 0.036 | 130 | 19 | 0.33 | 0.05 | -4.6737 | -0.033061 | 0.027175 | 1 | 1 | 1 | 1/1 | 100 | 100 | -0.623 | 0.0429 | -0.53256 | -0.0026891 | 1.8944e-05 | -2.6181e-08 | -0.26449 | 0.035992 | -0.001583 | 2.6982e-05 | 11 | 397 | 19 | 23 | 2.1 | 1.9 | 0.45044 | 2.6758 | 1.5478 | 2.3572 | 1.449 | 2.2559 | 38.3056 | 24.2276 | 18 | 635.922 | 376.93 | 22.9231 | 28.4973 | 30.0004 | 28.4697 | 28.4724 | 9.0008 | 38.7842 | 0 | 22.888 | 129.689 | 18.8581 | 100.471 | 100.33
14 | 1628346053.6 | 2540.1 | 20210807 16:20:53 | 16:20:53 | 15 | 1628346045.85 | 0.002286 | 2.286 | 3.9264 | 111.9967 | 78.3874 | 7.7004 | 11.002 | 0.20387 | 2.8954 | 0.19622 | 0.1233 | 114.0146 | 25.5004 | 25.0059 | 3.1808 | 63.3922 | 2.0669 | 3.2605 | 1.1139 | -100.8125 | 64.8866 | 4.7505 | 82.8393 | 3.9296 | 2.2842 | 3.9264 | 118.3866 | 114.3889 | -0.00062307 | 67.2356 | 2.286 | 18.804 | 21.0412 | 5.2105e-06 | 78.55 | 0 | 0 | 1 | 0 | 52130.0209 | - | 0 | 0 | 0 | #DIV/0! | -1 | MPF-483-20210807-16_20_54 | 9301.14 | 1038.6728 | 1129.19 | 0.080161 | 0.5 | 589.1956 | 3.9264 | 23.6153 | 0.0083612 | -1 | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.080161 | #DIV/0! | #DIV/0! | #DIV/0! | 483 | 130 | 130 | 100 | 9301.14 | 1119.62 | -0.019792 | 0.93 | 700.0088 | 589.1956 | 0.8417 | 0.16288 | 6 | 0.5 | 0: Broadleaf | TRUE | 1628346045.85 | 111.9967 | 116.1809 | 21.0403 | 18.8048 | 112.6488 | 20.9987 | 600.1712 | 98.135 | 0.10006 | 25.4216 | 25.0059 | 999.9 | 0 | 0 | 9992.9193 | 0 | 64.1006 | 700.0088 | 0.94301 | 0.05699 | 0 | 1038.655 | 4.9997 | 7062.2533 | 6056.4213 | 35.375 | 38.312 | 36.625 | 37.625 | 37.562 | 655.4003 | 39.6063 | 0 | 184.2 | 0 | 1038.6728 | 0.91077 | 2.0354 | 7062.2956 | 15 | 1628345932.5 | 16:18:52 | 1628345922.5 | 1628345932.5 | 224 | 0.086 | 0.005 | -0.544 | 0.034 | 117 | 19 | 0.21 | 0.03 | -4.1937 | 0.16119 | 0.027108 | 1 | 1 | 1 | 1/1 | 100 | 100 | -0.652 | 0.0416 | -0.55219 | -0.0026891 | 1.8944e-05 | -2.6181e-08 | -0.266 | 0.035992 | -0.001583 | 2.6982e-05 | 11 | 397 | 19 | 23 | 2.2 | 2 | 0.4187 | 2.6794 | 1.5478 | 2.3572 | 1.449 | 2.2668 | 38.3056 | 24.2276 | 18 | 635.976 | 376.842 | 22.9077 | 28.5167 | 30.0001 | 28.4855 | 28.487 | 8.3711 | 38.9371 | 0 | 22.8999 | 116.229 | 18.7837 | 100.47 | 100.33
15 | 1628346242.6 | 2729.1 | 20210807 16:24:02 | 16:24:02 | 15 | 1628346234.85 | 0.0023673 | 2.3673 | 3.5105 | 100.0107 | 70.9712 | 6.9716 | 9.8241 | 0.21166 | 2.8964 | 0.20343 | 0.12786 | 114.0102 | 25.47 | 24.9951 | 3.1788 | 63.4038 | 2.0662 | 3.2588 | 1.1126 | -104.3979 | 65.2023 | 4.7715 | 79.586 | 3.5076 | 2.364 | 3.5105 | 105.7106 | 102.1349 | -0.0001679 | 67.2349 | 2.3673 | 18.7196 | 21.0364 | 9.2333e-06 | 78.55 | 0 | 0 | 1 | 0 | 52160.4343 | - | 0 | 0 | 0 | #DIV/0! | -1 | MPF-484-20210807-16_24_03 | 9301.44 | 1043.9223 | 1124.64 | 0.071772 | 0.5 | 589.1735 | 3.5105 | 21.1431 | 0.0076557 | -1 | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.071772 | #DIV/0! | #DIV/0! | #DIV/0! | 484 | 130 | 130 | 100 | 9301.44 | 1118.79 | -0.019792 | 1.03 | 699.9827 | 589.1735 | 0.8417 | 0.16288 | 6 | 0.5 | 0: Broadleaf | TRUE | 1628346234.85 | 100.0107 | 103.7537 | 21.0339 | 18.7203 | 100.6583 | 20.9929 | 600.1675 | 98.1308 | 0.099983 | 25.4127 | 24.9951 | 999.9 | 0 | 0 | 9999.133 | 0 | 64.0438 | 699.9827 | 0.94301 | 0.056988 | 0 | 1043.9337 | 4.9997 | 7094.077 | 6056.1977 | 35.25 | 38.1767 | 36.4454 | 37.5 | 37.437 | 655.3767 | 39.602 | 0 | 188.6 | 0 | 1043.9223 | -0.20991 | 4.6106 | 7094.27 | 15 | 1628346114.6 | 16:21:54 | 1628346107.6 | 1628346114.6 | 225 | 0.109 | 0.004 | -0.547 | 0.033 | 104 | 19 | 0.44 | 0.04 | -3.752 | 0.16497 | 0.021227 | 1 | 1 | 1 | 1/1 | 100 | 100 | -0.647 | 0.041 | -0.54199 | -0.0026891 | 1.8944e-05 | -2.6181e-08 | -0.95189 | 0.13317 | -0.0061659 | 9.8863e-05 | 11 | 397 | 18 | 23 | 2.2 | 2.1 | 0.3894 | 2.6611 | 1.5478 | 2.3584 | 1.449 | 2.4414 | 38.3056 | 24.2364 | 18 | 635.94 | 376.648 | 22.9449 | 28.5387 | 30.0001 | 28.5049 | 28.5089 | 7.7801 | 39.0387 | 0 | 22.9453 | 103.771 | 18.7236 | 100.466 | 100.328

## Remarks
File opened | 2021-08-07 15:04:01
Console s/n | 68C-022410
Console ver | Bluestem v.2.0.02
Scripts ver | 2021.06 2.0.01, June 2021
Head s/n | 68H-422400
Head ver | 1.4.7
Head cal | {"oxygen": "1", "co2azero": "0.978236", "co2aspan1": "1.00241", "co2aspan2": "-0.0353394", "co2aspan2a": "0.286102", "co2aspan2b": "0.2839", "co2aspanconc1": "2470", "co2aspanconc2": "293.8", "co2bzero": "0.91684", "co2bspan1": "1.00234", "co2bspan2": "-0.0349974", "co2bspan2a": "0.292534", "co2bspan2b": "0.290224", "co2bspanconc1": "2470", "co2bspanconc2": "293.8", "h2oazero": "1.10688", "h2oaspan1": "1.00064", "h2oaspan2": "0", "h2oaspan2a": "0.0661794", "h2oaspan2b": "0.066222", "h2oaspanconc1": "12.55", "h2oaspanconc2": "0", "h2obzero": "1.10417", "h2obspan1": "1.00137", "h2obspan2": "0", "h2obspan2a": "0.068989", "h2obspan2b": "0.0690837", "h2obspanconc1": "12.55", "h2obspanconc2": "0", "tazero": "0.0513821", "tbzero": "0.0164795", "flowmeterzero": "1.00527", "flowazero": "0.315", "flowbzero": "0.29304", "chamberpressurezero": "2.51243", "ssa_ref": "39073.2", "ssb_ref": "26934.7"}
Chamber type | 6800-01A
Chamber s/n | MPF-282085
Chamber rev | 0
Chamber cal | 0
Fluorometer | MPF-282085
Flr. Version | 1.4.7
15:04:01 | Stability Definition: ΔCO2 (Meas2): Slp<0.2 Std<0.05 Per=20